January 2014

| Americas Bosch Security Systems, Inc. 130 Perinton Parkway Fairport, New York, 14450, USA Phone: + 1 800 289 0096 Fax: +1 585 223 9180 security.sales@us.bosch.com www.boschsecurity.us | Europe, Middle East, Africa Bosch Security Systems B.V. P.O. Box 80002 5617 BA Eindhoven, The Netherlands Phone: + 31 40 2577 284 Fax: +31 40 2577 330 emea.securitysystems@bosch.com www.boschsecurity.com | Asia-Pacific Robert Bosch (SEA) Pte Ltd, Security Systems 11 Bishan Street 21 Singapore 573943 Phone: +65 6571 2808 Fax: +65 6571 2699 apr.securitysystems@bosch.com www.boschsecurity.asia |
| --- | --- | --- |

Product Guide Specification

SECTION 28 23 29

VIDEO SURVEILLANCE REMOTE DEVICES AND SENSORS

Bosch FLEXIDOME IP imager 9000 HD camera

- – GENERAL

  - SUMMARY

    - Section Includes

      - Video Surveillance Remote Devices.

    - Related Sections

      - Section [28 23 13 – Video Surveillance Control and Management Systems].

      - Section [28 23 16 – Video Surveillance Monitoring and Supervisory Interfaces].

      - Section [28 23 19 – Digital Video Recorders and Analog Recording Devices].

      - Section [28 23 23 – Video Surveillance Systems Infrastructure].

**********Specifier’s note: Include those standards referenced elsewhere in this SECTION.

  - REFERENCES

| Safety | EN 60950-1 |
| --- | --- |
|  | UL 60950-1 |
|  | CAN/CSA-C22.2 NO. 60950-1 |
| EMC | EN 50130-4 |
|  | FCC Part15 Subpart B, Class B |
|  | EMC directive 2004/108/EC |
|  | EN 55022/24 class B |
|  | VCCI J55022 V2 / V3 |
|  | C-tick AS/NZS CISPR 22 (equal to CISPR 22) |
|  | ICES-003 class B |
|  | EN 50121-4 |
|  | EN 50132-5-2; IEC 62676-2-3 |
| Outdoor | UL/cUL 60950-22, IEC50130-5 |
| Eye Safety | CIE/IEC 62471 |
| Product certifications | CE, FCC, UL, cUL, C-tick, CB, VCCI |
| Vibration | IEC 60068-2-6:2007 |
| Solar radiation | IEC 60068-2-5 Edition 2.0:2010, Procedure C |
| Ingress protection | IP66, NEMA 4X |
| Impact protection | IK10 (except window) |

  - DEFINITIONS

    - Infrared Illuminator: a light source working in the infrared frequency range is called an infrared illuminator.

    - iDNR (intelligent Dynamic Noise Reduction): The Intelligent Dynamic Noise Reduction applies temporal noise filtering when no motion is detected. The filtering reduces the noise in the image and this makes the encoder step more effective.

    - Sensitivity: refers to the minimum level of light the sensor needs to generate an acceptable video picture, and is measured in lux.

    - Privacy Masking: The ability to mask out a specific area to prevent it from being viewed in order to comply with privacy laws and particular site requirements.

    - iDNR (intelligent Dynamic Noise Reduction): The Intelligent Dynamic Noise Reduction applies temporal noise filtering when no motion is detected. The filtering reduces the noise in the image and this makes the encoder step more effective.

    - C-BIT: Content-Based Image Technology (C-BIT) is used to radically improve image quality in all lighting conditions and to identify areas for enhanced processing. The camera examines the scene using intelligent video analytics and provides feedback to re-tune the image processing. This provides better detail in the areas that matter and better all-round performance.

    - IVA: This state-of-the-art Intelligent Video Analysis (IVA) system reliably detects, tracks, and analyzes moving objects while suppressing unwanted alarms from spurious sources in the image.

    - iAE: Automatic Exposure technology: allows you to view moving objects in bright and dark areas of a scene

  - SYSTEM DESCRIPTION

    - Video Surveillance Remote Devices

      - NAI-90022-AAA DINION IP imager 9000 HD Camera

    - Performance Requirements

      - The camera shall have active infrared 1080p30 HD camera specifically designed for 24-hour perimeter surveillance.

      - The camera shall incorporate IP Infrared Imaging design to optimize the combined benefits of IP and infrared illumination for critical imaging applications.

      - The camera shall have IP network capability.

      - The camera shall provide daytime color performance.

      - The camera shall provide night-time active-infrared monochrome performance.

      - The camera shall have a progressive scanning system.

      - The camera shall have an all-weather and vandal-resistant design.

      - The camera shall operate with high reliability.

      - The camera shall have been rigorously tested and proven for use by the manufacturer.

      - The camera shall have all-in-one integrated housing with auto zoom/focus SR lens for quick and easy installation.

      - The camera shall have embedded Intelligent Video Analysis (IVA) firmware to transform camera into automated detector.

  - SUBMITTALS

    - Submit under provisions of Section [01 33 00].

    - Product Data:

      - Manufacturer’s data, user and installation manuals for all equipment and software programs including computer equipment and other equipment required for complete video management system.

    - Shop Drawings; include

      - System device locations on architectural floor plans.

      - Full Schematic of system, including wiring information for all devices.

    - Closeout Submittals

      - User manual.

      - Parts list.

      - System device locations on architectural floor plans.

      - Wiring and connection diagram.

      - Maintenance requirements.

  - QUALITY ASSURANCE

    - Manufacturer:

      - Minimum of [10] years experience in manufacture and design Video Surveillance Devices.

      - Manufacturer’s quality system: Registered to ISO 9001 Quality Standard.

    - Video Surveillance System

      - Listed by [UL] [EN] [FCC] specifically for the required loads.  Provide evidence of compliance upon request.

    - Installer:

      - Minimum of [5] years experience installing Video IP Surveillance System.

  - DELIVERY, STORAGE AND HANDLING

    - Comply with requirements of Section [01 60 00].

    - Deliver materials in manufacture’s original, unopened, undamaged containers; and unharmed original identification labels.

    - Protect store materials from environmental and temperature conditions following manufacturer’s instructions.

    - Handle and operate products and systems according to manufacturer’s instructions.

    - Bosch provides off-the-shelf availability for our top selling products and same-day or 24-hour shipping.

  - WARRANTY

    - Provide manufacturer’s warranty covering [3] years for replacement and repair of defective equipment.

  - MAINTENANCE

    - Make ordering of new equipment for expansions, replacements, and spare parts available to dealers and end users.

    - Provide factory direct technical support from 8:00 a.m. to 8:00 p.m. via phone and e-mail.

- – PRODUCTS

  - MANUFACTURERS

    - Acceptable Manufacturer:

[Bosch Security Systems, Inc.

130 Perinton Parkway

Fairport, New York, 1450, USA

Phone: + 1 800 289 0096

Fax: + 1 585 223 9180

security.sales@us.bosch.com

www.boschsecurity.us]

[Bosch Security Systems B.V.

P.O. Box 80002

5617 BA Eindhoven, The Netherlands

Phone: + 31 40 2577 284

Fax: +31 40 2577 330

emea.securitysystems@bosch.com

www.boschsecurity.com]

[Robert Bosch (SEA) Pte Ltd, Security Systems

11 Bishan Street 21

Singapore 573943

Phone: +65 6571 2808

Fax: +65 6571 2699

apr.securitysystems@bosch.com

www.boschsecurity.asia]

    - Substitutions: [Not permitted.] [Under provisions of Division 1.]

      - [All proposed substitutions must be approved by the Architect or Engineer professional.]

      - [Proposed substitutions must provide a line-by-line compliance documentation.]

**********Specifier’s note: Select Camera System Series based on project requirement.

  - DINION IP imager 9000 HD [NAI-90022-AAA]

    - General characteristics:

      - The camera shall have a remotely adjustable high power infrared illumination for unmatched no-light performance up to 120 m (394 ft) detection

      - The camera shall delivers high quality 1080p HD images at 30 ips in any lighting conditions.

      - The camera shall have no exposed wiring or anchor points, making it highly vandal-resistant and suitable for suicide watch.

      - The camera shall have automatic, photocell-controlled day-night switching.

      - The camera shall have a 1/2.7” CMOS sensor with mechanical filter technology for vivid daytime color and effective night-time performance under infrared illumination.

      - The camera shall produce a resolution of 1920 x 1080 pixels at 30 ips.

      - The camera shall have a dynamic range of greater than 92 dB with iAE.

      - The camera shall incorporate automatic switching between day and night modes.

      - The camera shall have daytime color mode.

      - The camera shall have night-time IR monochrome mode.

      - The camera shall operate at zero lux in night-time monochrome mode.

      - The camera shall have high light sensitivity

Color: 0.4 lx (0.04 fc)

Monochrome: 0.0 lx (IR on)

      - The camera shall produce accurate color representation by eliminating IR bleed and/or other color distortions.

      - The camera shall produce outstanding contrast characteristics for reduced glare and streaking.

      - The camera shall incorporate infrared illumination to reduce image noise at night, enabling better compression, reducing bit rates and enhancing network stability.

      - The camera shall offer Content-based Imaging Technology (C-BIT).

      - The camera shall utilize Intelligent Dynamic Noise Reduction (iDNR) technology to reduce the bitrate and storage requirements by removing noise artifacts.

      - The camera shall provide direct network connection using H.264 and JPEG compression and bandwidth throttling to efficiently manage bandwidth and storage requirements while delivering outstanding image quality.

      - The camera shall provide six configurable user modes that provide optimized settings for distinct applications.

      - The camera shall provide four independent, fully programmable privacy mask areas.

      - The camera shall provide enhanced night viewing through the increase of IR sensitivity by automatically switching a motorized IR filter from color to monochrome operation in low-light or IR illuminated applications.

      - The camera shall provide a CVBS (NTSC), 1 Vpp, 75 Ohm analog output on a 2.5 mm jack connector for installation purposes.

      - The camera shall utilize pixel-by-pixel analysis to automatically compensate for bright areas of a high contrast scene (Backlight) without having to define a window or area.

      - The camera shall be equipped with 3 high efficiency LED infrared array allowing for clear pictures in zero lux conditions.

      - The camera shall offer the following audio standards:

        - AAC

        - G.711, 8 kHz sampling rate

        - L16, 16 kHz sampling rate

    - Construction

      - The camera shall be ruggedized for vandal resistance.

      - The illuminator can be tilted, and the width of the IR beam is adjusted by placing the 3D diffuser in the IR illumination path. This ability to adjust the IR beam pattern in the field gives a broad coverage and greatly reduces setup time and effort.

      - The camera shall have a flush-mounted front faceplate secured in place with three tamper-resistant screws.

      - The camera shall have a gasket behind the faceplate to ensure water-tightness from periodic splashes of liquids caused through attempted vandalism or cleaning.

      - The camera shall be rated to IP 66 standard against water and dust ingress.

      - The camera shall be rated to IK10 impact (except for window).

      - The camera housing shall be equipped with two separate windows, one for IR light transmission and the other for video imaging.

      - The camera shall have pre-harnessed connectors allowing simple plug and play installation.

      - The camera housing shall be made of welded aluminum.

      - The camera color shall be RAL 9010 pure white with RAL 9005 jet black detail.

      - The camera shall operate at a temperature range from:

        - -40°C to +50°C (-40°F to +122°F) for the 12 VDC / 24 VAC

        - -20°C to +50°C (-4°F to +122°F) for the PoE+

    - Installation Requirements

      - The camera shall have power and alarm cable connectors which can be removed when the camera is mounted.

      - The camera shall provide power, video, and control via an Ethernet connection and a PoE switch.

      - The camera shall be capable of simultaneous connection to PoE and to 12 VDC/24 VAC power supplies.

    - Storage Management

      - The camera shall support iSCSI devices to allow video stream to be recorded directly to an iSCSI RAID array.

      - The camera shall support iSCSI storage targets to enable the camera to function as a conventional DVR.

      - The camera shall have a microSD card slot that uses standard; off-the-shelf microSD (SDHC and SDXC) cards for local storage (up to 2 TB).

    - Alarm Handling Features:

      - The camera shall provide an active low alarm input.

      - The camera shall provide the capability on alarm to display up to a 31 character, programmable alarm message.

      - The camera shall provide a normally open alarm output. The alarm output can be activated from an external alarm input to the camera, manual activation from the browser, upon video motion detection, an alarm task script or video loss.

      - The camera shall provide email alarm messaging with optional JPEG posting.

    - IP Connectivity

      - The camera shall generate multiple simultaneous video streams in H.264 and M-JPEG with configurable frame rates and bandwidth.

      - The camera shall allow full camera control and configuration capabilities over the network.

      - The camera shall work with Power over Ethernet IEEE 802.3af (802.3at Type 2).

      - The camera shall deliver 1920x1080 video, at rates up to 30 images per second.

      - The camera shall support AutoMDIX.

      - The camera shall conform to the ONVIF Profile S standard.

    - Embedded Video Content Analysis

      - The camera shall be VCA enabled.

      - The camera shall offer IVA video motion analysis that uses an algorithm based on pixel change.

      - The camera IVA feature shall include object size filtering and tamper-detection capabilities.

    - Surveillance Software

      - The camera shall be accessible from a web browser, with the Bosch Video Management System, with the Bosch Video Client, or with the Bosch Video Security iPad App.

      - The camera shall be accessible from the Bosch Security System iPad App with the separately available Bosch transcoder. The App shall allow complete camera control and shall display images over low bandwidth connections.

    - Access Security

      - The camera shall offer three levels of password protection.

      - The camera shall support 802.1x authentication using a RADIUS (Remote Authentication Dial In User Service) server.

      - The camera shall store a SSL certificate for use with HTTPS.

      - [The camera shall be capable of being independently AES encrypted with 128-bit keys.]

    - Image Posting

      - The camera shall offer periodic JPEG image posting to an FTP server or to a Dropbox account.

    - Specifications

      - Electrical:

        - Input voltage:

          - [+12 VDC]

          - [24 VAC]

          - [Power-over-Ethernet (52 VDC nominal)]

        - Power consumption

          - [2.25 A / 27 W (+12 VDC)]

          - [1.65 A / 28 W (24 VAC)]

          - [490 mA max. (PoE+)]

        - PoE: IEEE 802.3af (802.3at Type 2) Power level: Class 4

      - Video

        - Sensor type: 1/2.7-inch CMOS

        - Resolution: 1920 x 1080

        - Resolutions (H x V)

          - 1080p HD 1920 X 1080

          - 720p HD 1280 x 720

          - D1 4:3 (cropped) 704 x 480

          - SD upright (cropped) 400 x 720

          - 480p SD Encoding: 704 x 480; Displayed: 854 x 480

          - 432p SD 768 x 432

          - 288p SD 512 x 288

          - 240p SD Encoding: 352 x 240; Displayed: 432 x 240

          - 144p SD 256 x 144

        - Sensitivity:

          - Color: 0.4 lx

          - Mono: 0.0 lx (IR on)

        - Dynamic range: 92 dB (with iAE)

        - True Day/Night: Auto, Color, Monochrome

        - Shutter speed:

          - Automatic Electronic Shutter (AES)

          - Fixed 1/30 (1/25) to 1/15000

        - SD Video resolution: VGA, QVGA

        - Video compression: H.264 MP (Main Profile); M-JPEG

        - Overall IP Delay Min. 120 ms, Max. 240 ms

        - GOP structure IP, IBP, IBBP

        - Encoding interval 1 to 25 (30) ips

        - Max. frame rate: 30 ips (M-JPEG frame rate can vary depending on system loading)

        - Video Settings: Video watermarking, Alarm mode stamping, Image mirror, Image flip, Contrast, Saturation, Brightness, White balance, Sharpness level, Contrast enhancement, Backlight Compensation, Privacy Mask, Motion detection, Tamper alarm, Upright mode, Pixel counter

      - Night vision

        - IR LEDs: 7 high efficiency LEDs, 850 nm

        - Distance: 120 m (394 ft)

      - Lens

        - Lens type: 10 to 23 mm Automatic Varifocal SR

        - IR corrected

        - Viewing angle (10 to 23 mm): Wide 34° x 18° (HxV); Tele 14.8° x 18° (HxV)

      - Connection

        - Analog video out (for service only): 2.5 mm jack connector (1 Vpp CVBS PAL/NTSC, BNC 75 Ohm)

        - Alarm input:  +5 to 40 VDC, (+3.3 VDC with DC-coupled 22 kOhm pull-up resistor)

        - Alarm output: 40 VDC or 30 VAC (max), load current: 0.5 A (continuous)

        - Audio input:

          - Line in 3.5 mm mono connector

          - 1 Vrms, impedance 12 kOhm (typical)

        - Audio output:

          - Line out 3.5 mm mono connector

          - 1 Vrms, impedance 1.5 kOhm (typical)

      - Audio

        - Audio communication: Full duplex / half duplex

        - Audio compression: AAC, G.711, L16 (live and recording)

        - Signal-to-noise ration: >50 dB

      - Local Storage

        - Internal RAM: 10 s pre-alarm recording

        - Memory card slot: Supports up to 32 GB microSDHC / 2 TB microSDXC card. (An SD card of Class 6 or higher is recommended for HD recording)

        - Recording: Continuous recording, ring recording. alarm/events/schedule recording

      - Software Control

        - Unit configuration: Via web browser or PC surveillance software

      - Network

        - Protocols: IPv4, IPv6, UDP, TCP, HTTP, HTTPS, RTP/RTCP, IGMP V2/V3, ICMP, ICMPv6, RTSP, FTP, Telnet, ARP, DHCP, SNTP, SNMP (V1, MIB-II), 802.1x, DNS, DNSv6, DDNS, SMTP, iSCSI, UPnP (SSDP), DiffServ (QoS), LLDP, SOAP, Dropbox, CHAP, Digest Authentication.

        - Encryption: TLS 1.0, SSL, DES, 3DES, AES (optional)

        - Ethernet: 10/100 Base-T, auto-sensing, half/full duplex

        - Ethernet connector: RJ45

        - Connectivity: ONVIF Profile S, Auto-MDIX

      - Mechanical

        - Dimensions (W x W x L):

          - Camera and bracket: 402 x 193 x 309 mm (15.8 x 7.6 x 12.2 in.)

          - Total assembly: 402 x 193 x 406 mm (15.8 x 7.6 x 16.0 in.)

        - Weight:

          - Camera without junction box: 6.6 kg (14.5 lb)

          - Junction box: 1.4 kg (3.1 lb)J

        - Construction: Corrosion-resistant aluminum

        - Color: RAL 9010 pure white with RAL 9005 jet black detail

        - Finish Wet paint

        - Window 3.3 mm (1/8-in.) thick glass

        - Bracket: Corrosion-resistant, cable-managed

        - Bracket Pan/Tilt Range: Pan: ±90°

        - Tilt: -48°/+44°

        - Junction Box: Separate from bracket allowing for wiring and cabling prior to camera installation

      - Environmental

        - Operating temperature:

          - -40°C to +50°C (-40°F to +122°F) for the 12 VDC / 24 VAC

          - -20°C to +50°C (-4°F to +122°F) for the PoE+

        - Storage temperature: -40 ºC to +70 ºC (-40 ºF to +158 ºF)

        - Operating humidity: 20% to 100% relative humidity (condensing)

        - Weatherproofing: IP66 and NEMA 4X

        - Vandal proof: IK10

        - Vibration: 10 to 150 Hz at 10 m/s2

- – EXECUTION

  - EXAMINATION

    - Examine areas to receive devices and notify adverse conditions affecting installation or subsequent operation.

    - Do not begin installation until unacceptable conditions are corrected.

  - PREPARATION

    - Protect devices from damage during construction.

  - INSTALLATION

    - Install devices in accordance with manufacturer’s instruction at locations indicated on the floor drawings plans.

    - Ensure selected location is secure and offers protection from accidental damage.

    - Location must provide reasonable temperature and humidity conditions, free from sources of electrical and electromagnetic interference.

  - FIELD QUALITY CONTROL

    - Test snugness of mounting screws of all installed equipment.

    - Test proper operation of all video system devices.

    - Determine and report all problems to the manufacturer’s customer service department.

  - ADJUSTING

    - Make proper adjustment to video system devices for correct operation in accordance with manufacturer’s instructions.

    - Make any adjustment of camera settings to comply with specific customer’s need.

  - DEMONSTRATION

    - Demonstrate at final inspection that video management system and devices function properly.

END OF SECTION

# Text boxes

Specifier Notes:  This product guide specification is written according to the Construction Specifications Institute (CSI) 3-Part Format, based on MasterFormat 2004 and The Project Resource Manual—CSI Manual of Practice. The Manufacturer is responsible for technical accuracy.

The section must be carefully reviewed and edited by the Architect or Engineer to meet the requirements of the project and local building code.  Words and sentences within brackets [ ] are choices to include or exclude a particular item or statement.  Coordinate this section with other specification sections and the Drawings.  Delete all “Specifier Notes” after editing this section.