July 2013

| Americas Bosch Security Systems, Inc. 130 Perinton Parkway Fairport, New York, 14450, USA Phone: + 1 800 289 0096 Fax: +1 585 223 9180 security.sales@us.bosch.com www.boschsecurity.us | Europe, Middle East, Africa Bosch Security Systems B.V. P.O. Box 80002 5600 JB Eindhoven, The Netherlands Phone: + 31 40 2577 284 Fax: +31 40 2577 330 emea.securitysystems@bosch.com www.boschsecurity.com | Asia-Pacific Robert Bosch (SEA) Pte Ltd, Security Systems 11 Bishan Street 21 Singapore 573943 Phone: +65 6571 2600 Fax: +65 6571 2698 apr.securitysystems@bosch.com www.boschsecurity.com |
| --- | --- | --- |

# Product Guide Specification

# SECTION 28 23 29

VIDEO SURVEILLANCE REMOTE DEVICES AND SENSORS

BOSCH VIDEOJET decoder 3000

- – GENERAL

  - SUMMARY

    - Section Includes:

      - Video Surveillance Remote Devices and Sensors

    - Related Sections:

      - Section [28 23 16 – Video Surveillance Monitoring and Supervisory Interfaces].

      - Section [28 23 26 – Video Surveillance Remote Positioning Equipment].

  - REFERENCES

    - Safety:

      - IEC60950: Safety of information technology equipment

    - EMC Europe:

      - EN 55022: Information technology equipment. Radio disturbance characteristics. Limits and methods of measurement

      - EN 55024: Information technology equipment. Immunity characteristics. Limits and methods of measurement

    - Federal Communications Commission (FCC) (www.fcc.gov)

      - FCC CFR 47 part 15 class B – Telecommunications – Radio Frequency Devices – Digital Device Emission.

    - International Organization for Standardization (ISO) (www.iso.ch):

      - ISO 9001 – Quality Management Systems.

    - Underwriters Laboratories, Inc. (UL):

      - UL60950 -2001 Information technology equipment

  - SYSTEM DESCRIPTION

    - Video Surveillance Remote Devices and Sensors:

      - IP Video Decoder

    - Performance Requirements:

      - As the application requires, the IP video decoder specified shall be capable of functioning on data networks, such as Ethernet LANs and over the Internet.

      - The IP video decoder shall be capable of decoding high definition and standard definition streams using H.264 compression technology at up to 60 ips.

      - The IP video decoder shall be capable of decoding a single HD video stream in single view with video mode 1080p30 or 720p60 or 720p30 with up to 10 Mbps each.

      - The IP video decoder shall be capable of decoding four (4) standard definition or four (4) 960H or four (4) downscaled HD video streams in quad-view with up to 6 Mbps each.

      - The IP video decoder shall be capable of decoding JPEG images.

      - The IP video decoder shall be capable of directly driving an HD display device connected to its digital HDMI output.

      - The IP video decoder shall be capable of directly driving an analogue PAL- or NTSC-compatible display device connected to its analogue CVBS output.

      - The IP video decoder shall be capable of providing bi-directional G.711 audio for the video stream shown in single view.

      - The IP video decoder shall be capable of providing a serial interface for connecting an IntuiKey CCTV keyboard.

      - The IP video decoder shall support the following security options:

        - Two (2) levels of password protection to prevent unauthorized connection or configuration changes to the unit.

        - Independent AES encryption with 128‑bit keys for each communication channel – video, audio, or serial I/O – for total data protection.

      - The IP video decoder shall be capable of supporting a cable length of up to 30 m (98.43 ft) for its analogue and digital video outputs.

      - The IP video decoder specified shall be provided by the manufacturer complete with desktop or wall-mount accessories, power supply, Installation and Operations Manuals, and safety instructions.

  - SUBMITTALS

    - Submit under provisions of Section [01 33 00.]

    - Product Data:

      - Manufacturer’s data, operator and installation manuals software programs.

    - Shop Drawings; include:

      - System device locations on architectural floor plans.

      - Full Schematic of system, including wiring information for all devices.

    - Closeout Submittals:

      - [User manual.]

      - [Parts list.]

      - [Connection diagram.]

      - [Installation CD.]

      - [Software license.]

  - QUALITY ASSURANCE

    - Manufacturer:

      - Minimum of [ten (10)] years experience in manufacture and design of electronic security systems including sophisticated PC-based systems and digital products.

    - Manufacturer’s quality system: Registered to ISO 9001:2000 Quality Standard.

    - Installer:

      - Minimum of [five (5)] years experience installing IP CCTV systems.

  - DELIVERY, STORAGE AND HANDLING

    - Comply with requirements of Section [01 60 00].

    - Deliver materials in manufacturer’s original, unopened, undamaged packaging; and unharmed original identification labels.

    - Protect store materials from environmental and temperature conditions following manufacturer’s instructions.

    - Handle and operate products and systems according to manufacturer’s instructions for installation, environmental, mechanical or electrical requirements and within thermal stress limits.

    - Ensure conformance with operating limitations according to applicable data sheet.

    - Consider safety instructions.

  - WARRANTY

    - Provide manufacturer’s warranty covering [three (3)] years for CCTV products to repair and replace defective equipment.

    - Exchanges available for product failures.

  - MAINTENANCE

    - Make ordering of new equipment for expansions, replacements, and spare parts available to dealers and end users.

    - Provide factory direct technical support from 8:00 a.m. to 8:00 p.m. via phone or e-mail, or any time via Web.

      - Provide toll-free numbers to contact customer support.

    - Provide on-site training and on-line training via web.

- – PRODUCTS

  - MANUFACTURERS

    - Acceptable Manufacturer:

[Bosch Security Systems, Inc.

130 Perinton Parkway

Fairport, New York, 1450, USA

Phone: + 1 800 289 0096

Fax: + 1 585 223 9180

security.sales@us.bosch.com

www.boschsecurity.us]

[Bosch Security Systems B.V.

P.O. Box 80002

5600 JB Eindhoven, The Netherlands

Phone: + 31 40 2577 284

Fax: +31 40 2577 330

emea.securitysystems@bosch.com

www.boschsecurity.com]

[Bosch Security Systems Pte Ltd

Robert Bosch (SEA) Pte Ltd, Security Systems

11 Bishan Street 21

Singapore 573943

Phone: +65 6571 2600

Fax: +65 6571 2698

apr.securitysystems@bosch.com

www.boschsecurity.com]

    - Substitutions: [Not permitted.] [Under provisions of Division 1.]

      - [All proposed substitutions must be approved by the Architect or Engineer professional.]

      - [Proposed substitutions must provide a line-by-line compliance documentation.]

  - BOSCH VIDEOJET decoder 3000 [VJD-3000]

    - General Description:

      - As the application requires, the IP video decoder specified shall be capable of functioning on data networks, such as Ethernet LANs and over the Internet.

      - The IP video decoder shall be capable of decoding high definition and standard definition streams using H.264 compression technology at up to 60 ips.

      - The IP video decoder shall be capable of decoding a single HD video stream in single view with video mode 1080p30 or 720p60 or 720p30 with up to 10 Mbps each.

      - The IP video decoder shall be capable of decoding four (4) standard definition or four (4) 960H or four (4) downscaled HD video streams in quad-view with up to 6 Mbps each.

      - The IP video decoder shall be capable of decoding JPEG images.

      - The IP video decoder shall be capable of directly driving an HD display device connected to its digital HDMI output.

      - The IP video decoder shall be capable of directly driving an analogue PAL- or NTSC-compatible display device connected to its analogue CVBS output.

      - The IP video decoder shall be capable of providing bi-directional G.711 audio for the video stream shown in single view.

      - The IP video decoder shall be capable of providing a serial interface for connecting an IntuiKey CCTV keyboard.

      - The IP video decoder shall support the following security options:

        - Two (2) levels of password protection to prevent unauthorized connection or configuration changes to the unit.

        - Independent AES encryption with 128‑bit keys for each communication channel – video, audio, or serial I/O – for total data protection.

      - The IP video decoder shall be capable of supporting a cable length of up to 30 m (98.43 ft) for its analogue and digital video outputs.

      - The IP video decoder specified shall be provided by the manufacturer complete with desktop or wall-mount accessories, power supply, Installation and Operations Manuals, and safety instructions.

    - Decoding

      - The IP video decoder shall offer the following compression options:

        - H.264 (ISO/IEC 14496-10)

        - JPEG

      - The IP video decoder shall be capable of decoding the following stream options:

        - One (1) H.264 1080p30 streams at 10 Mbps

        - One (1) H.264 720p60 streams at 10 Mbps

        - One (1) H.264 720p30 streams at 10 Mbps

        - Four (4) H.264 PAL or NTSC standard definition streams at up to 6 Mbps

        - Four (4) H.264 960H standard definition streams at up to 6 Mbps with resolution of 960 x 576/480 pixels.

        - Four (4) downscaled H.264 HD streams at up to 6 Mbps with various aspect ratio at a resolution not exceeding a maximum width of 960 pixels and maximum height of 720 pixels. Supported resolutions shall include:

          - 960x540 (16:9)

          - 768x432 (16:9)

          - 400x720 (9:16)

          - 640x480 (4:3)

        - Four (4) H.264 PAL or NTSC standard definition streams at up to 6 Mbps

      - The IP video decoder shall be capable of encoding and decoding G.711 audio.

    - System Specifications

      - The IP video decoder shall be an embedded device without access to its operating system.

      - The IP video decoder shall offer a 10/100 Mbps Ethernet port.

    - Monitor Support

      - The HD decoder shall provide one (1) HDMI monitor output.

      - The HD decoder shall provide one (1) CVBS (BNC) monitor output.

      - The HD decoder shall be capable of displaying one (1) high definition stream (1080p30/720p60) in a single-view display.

      - The HD decoder shall be capable of displaying four (4) standard definition or four (4) 960H or four (4) downscaled HD streams in a quad-view display.

      - The HD decoder shall be capable of switching screen layouts based on the controlling video management system or on alarm scenarios.

    - Mounting

      - The HD decoder shall be capable of being equipped with stands for table-top use.

      - The HD decoder shall be capable of being wall-mounted.

      - The HD decoder shall be capable of being rack-mounted by using the proper rack-mount kit accessory.

    - Electrical

      - Power Supply: Wide-range, external, included in the box

      - Input Voltage: 100 to 240 VAC, 50/60 Hz

      - Power Consumption: Approximately 9W

    - Video:

      - Video Outputs: 1 of 2

      - Connectors: HDMI or BNC

      - Video Compression Standards:

        - H.264 (ISO/IEC 14496-10)

        - JPEG

      - Data Rates:

        - HD: Up to 10 Mbps, single stream

        - SD: Up to 6 Mbps per stream

      - GOP structure: I, IP, IBBP

      - Monitor Resolutions:

        - HDMI: 1920 x 1200 maximum (WUXGA) at 60 Hz

    - Network

      - Ethernet: 10/100 Base-T, auto-sensing, half/full duplex, RJ45

      - Protocols: IPv4, IPv6, UDP, TCP, HTTP, HTTPS, RTP/RTCP, IGMP V2/V3, ICMP, ICMPv6, RTSP, Telnet, ARP, DHCP, SNTP, SNMP (V1, MIB-II), 802.1x, DNS, DNSv6, DDNS (DynDNS.org, selfHOST.de, no-ip.com), SMTP, iSCSI, UPnP (SSDP), DiffServ (QoS), LLDP, SOAP, digest authentication

      - Encryption: TLS 1.0, SSL, DES, 3DES, AES

    - Control:

      - Software Update: Remote programmable

      - Configuration: Bosch Configuration Manager

      - Operation: Bosch Video Management System, or Bosch Video Client, or Web browser

    - Mechanical

      - Dimensions with caps (H x W x D): 38 x 146 x 183 mm 
(1.5 x 5.7 x 7.2 in)

      - Weight: Approximately 0.6 kg (1.3 lb)

    - Environmental:

      - Operating Temperature: 0°C to +40°C (+32°F to + 104°F) ambient temperature

      - Humidity: 0 to 90% atmospheric humidity, non-condensing

      - Thermal Value: 31 BTU/h maximum

- – EXECUTION

  - EXAMINATION

    - Examine areas to receive devices and notify adverse conditions affecting installation or subsequent operation.

    - Do not begin installation until unacceptable conditions are corrected.

    - Non-compliance with security instructions may result in loss of data.

    - Ensure environmental, mechanical and electrical requirements are met.

  - PREPARATION

    - Protect devices from damage during construction.

  - INSTALLATION

    - Install devices in accordance with manufacturer's instruction at locations indicated on the floor drawings plans.

    - Perform installation with qualified service personnel.

    - Install devices in accordance with the National Electrical Code or applicable local codes.

    - Ensure selected location is secure and offers protection from accidental damage.

    - Location must provide reasonable temperature and humidity conditions, free from sources of electrical and electromagnetic interference.

  - FIELD QUALITY CONTROL

    - Test proper operation of all video system devices.

      - Communication between recorder and cameras.

      - Independent operation of alarms, and cameras.

    - Test proper operation of software programs.

    - Determine and report all problems to the manufacturer's customer service department.

    - Determine and report all problems to the manufacturer’s customer service department.

  - ADJUSTING

    - Make proper adjustment to video system devices for correct operation in accordance with manufacturer’s instructions.

    - Make any adjustment of camera settings to comply with specific customer's need.

  - DEMOSTRATION

    - Demonstrate at final inspection that playback of video and storage functions operate properly.

# END OF SECTION

# Text boxes

Specifier Notes:  This product guide specification is written according to the Construction Specifications Institute (CSI) 3-Part Format, based on MasterFormat 2004 and The Project Resource Manual—CSI Manual of Practice. The Manufacturer is responsible for technical accuracy.

The section must be carefully reviewed and edited by the Architect or Engineer to meet the requirements of the project and local building code.  Words and sentences within brackets [ ] are choices to include or exclude a particular item or statement.  Coordinate this section with other specification sections and the Drawings.  Delete all “Specifier Notes” after editing this section.