July 2013

| Americas Bosch Security Systems, Inc. 130 Perinton Parkway Fairport, New York, 14450, USA Phone: + 1 800 289 0096 Fax: +1 585 223 9180 security.sales@us.bosch.com www.boschsecurity.us | Europe, Middle East, Africa Bosch Security Systems B.V. P.O. Box 80002 5617 BA Eindhoven, The Netherlands Phone: + 31 40 2577 284 Fax: +31 40 2577 330 emea.securitysystems@bosch.com www.boschsecurity.com | Asia-Pacific Robert Bosch (SEA) Pte Ltd, Security Systems 11 Bishan Street 21 Singapore 573943 Phone: +65 6571 2808 Fax: +65 6571 2699 apr.securitysystems@bosch.com www.boschsecurity.asia |
| --- | --- | --- |

Product Guide Specification

SECTION 28 23 29

VIDEO SURVEILLANCE REMOTE DEVICES AND SENSORS

BOSCH FLEXIDOME corner 9000 MP CAMERA

- – GENERAL

  - SUMMARY

    - Section Includes

      - Video Surveillance Remote Devices.

    - Related Sections

      - Section [28 23 13 – Video Surveillance Control and Management Systems].

      - Section [28 23 16 – Video Surveillance Monitoring and Supervisory Interfaces].

      - Section [28 23 19 – Digital Video Recorders and Analog Recording Devices].

      - Section [28 23 23 – Video Surveillance Systems Infrastructure].

**********Specifier’s note: Include those standards referenced elsewhere in this SECTION.

  - REFERENCES

    - European Norm

      - CE Declaration of Conformity

      - EN55022 class B (CE) – Information Technology Equipment – Radio Disturbance Characteristics – Limits and Methods of Measurement for Emission

    - Federal Communications Commission (FCC) (www.fcc.gov)

      - FCC CFR 47 part 15 class B – Telecommunications – Radio Frequency Devices – Digital Device Emission.

    - Immunity

      - EN50121-4 (CE) – Railway applications – Electromagnetic compatibility. Emission and immunity of the signaling and telecommunications apparatus.

      - EN50130-4 (CE) (PoE, +12 VDC, 24 VAC) Alarm Systems, Part 4 – Electromagnetic Compatibility – Product Family Standard: Immunity Requirements for Components of Fire, Intruder and Social Alarm Systems

    - International Electrotechnical Commission (IEC)

      - IEC 62471 Photobiological safety of lamps and lamp systems

    - International Organization for Standardization (ISO)

      - 9001 – Quality System.

    - Safety

      - EN60950-1 - Information technology equipment. Safety. General requirements

      - UL60950-1 Second Edition - Information technology equipment. Safety. General requirements

      - CAN/CSA 22.2 No 60950-1 - Information technology equipment. Safety. General requirements

    - Underwriters Laboratories, Inc. (UL) (www.ul.com)

      - UL certified

  - DEFINITIONS

    - Infrared Illuminator: a light source working in the infrared frequency range is called an infrared illuminator.

    - Automatic Gain Control (AGC):  a process by which gain is automatically adjusted as a function of input or other specified parameter.

    - Sensitivity: refers to the minimum level of light the sensor needs to generate an acceptable video picture, and is measured in lux.

    - Day/Night (infrared sensitive): A camera that has normal color operation in situations where there is sufficient illumination (day conditions), but where the sensitivity can be increased when there is little light available (night conditions). This is achieved by removing the infrared cut filter required for good color rendition. The sensitivity can be further enhanced by integrating a number of fields to improve the signal-to-noise ratio of the camera (this may introduce motion blur).

    - Privacy Masking: The ability to mask out a specific area to prevent it from being viewed in order to comply with privacy laws and particular site requirements.

    - Smart BLC (Back Light Compensation): Smart back-light compensation allows the camera to automatically compensate for bright areas of a high contrast scene without having to define a window or area.

    - CBIT (Content Based Imaging Technology): By intelligently combining information from the sensor, the image processor, the encoder and IVA subsystems, the image quality is boosted and the bit rate is reduced significantly.

    - iAE (intelligent Auto Exposure): Intelligent Auto Exposure ensures clear visibility of dark moving objects in the scene against a bright background or vice versa

    - iDNR (intelligent Dynamic Noise Reduction): The Intelligent Dynamic Noise Reduction applies temporal noise filtering when no motion is detected. The filtering reduces the noise in the image and this makes the encoder step more effective.

  - SYSTEM DESCRIPTION

    - Video Surveillance Remote Devices

      - FLEXIDOME corner 9000 MP Camera

    - Performance Requirements

      - The camera shall be Integrated Day Night active-infrared type.

      - The camera shall incorporate IP Infrared Imaging design to optimize the combined benefits of IP and infrared illumination for critical imaging applications.

      - The camera shall have IP network capability.

      - The camera shall provide daytime color performance.

      - The camera shall provide night-time active-infrared monochrome performance.

      - The camera shall have a progressive scanning system.

      - The camera shall be vandal resistant.

      - The camera shall be designed to be grip-less and anchor-free for maximum safety

      - The camera shall be energy efficient, drawing no more than 11W maximum.

      - The camera shall operate with high reliability.

      - The camera shall have been rigorously tested and proven for use by the manufacturer.

  - SUBMITTALS

    - Submit under provisions of Section [01 33 00].

    - Product Data:

      - Manufacturer’s data, user and installation manuals for all equipment and software programs including computer equipment and other equipment required for complete video management system.

    - Shop Drawings; include

      - System device locations on architectural floor plans.

      - Full Schematic of system, including wiring information for all devices.

    - Closeout Submittals

      - User manual.

      - Parts list.

      - System device locations on architectural floor plans.

      - Wiring and connection diagram.

      - Maintenance requirements.

  - QUALITY ASSURANCE

    - Manufacturer:

      - Minimum of [10] years experience in manufacture and design Video Surveillance Devices.

      - Manufacturer’s quality system: Registered to ISO 9001 Quality Standard.

    - Video Surveillance System

      - Listed by [UL] [EN] [FCC] specifically for the required loads.  Provide evidence of compliance upon request.

    - Installer:

      - Minimum of [5] years experience installing Video IP Surveillance System.

  - DELIVERY, STORAGE AND HANDLING

    - Comply with requirements of Section [01 60 00].

    - Deliver materials in manufacture’s original, unopened, undamaged containers; and unharmed original identification labels.

    - Protect store materials from environmental and temperature conditions following manufacturer’s instructions.

    - Handle and operate products and systems according to manufacturer’s instructions.

    - Bosch provides off-the-shelf availability for our top selling products and same-day or 24-hour shipping.

  - WARRANTY

    - Provide manufacturer’s warranty covering [3] years for replacement and repair of defective equipment.

  - MAINTENANCE

    - Make ordering of new equipment for expansions, replacements, and spare parts available to dealers and end users.

    - Provide factory direct technical support from 8:00 a.m. to 8:00 p.m. via phone and e-mail.

- – PRODUCTS

  - MANUFACTURERS

    - Acceptable Manufacturer:

[Bosch Security Systems, Inc.

130 Perinton Parkway

Fairport, New York, 1450, USA

Phone: + 1 800 289 0096

Fax: + 1 585 223 9180

security.sales@us.bosch.com

www.boschsecurity.us]

[Bosch Security Systems B.V.

P.O. Box 80002

5617 BA Eindhoven, The Netherlands

Phone: + 31 40 2577 284

Fax: +31 40 2577 330

emea.securitysystems@bosch.com

www.boschsecurity.com]

[Robert Bosch (SEA) Pte Ltd, Security Systems

11 Bishan Street 21

Singapore 573943

Phone: +65 6571 2808

Fax: +65 6571 2699

apr.securitysystems@bosch.com

www.boschsecurity.asia]

    - Substitutions: [Not permitted.] [Under provisions of Division 1.]

      - [All proposed substitutions must be approved by the Architect or Engineer professional.]

      - [Proposed substitutions must provide a line-by-line compliance documentation.]

**********Specifier’s note: Select Camera System Series based on project requirement.

  - BOSCH FLEXIDOME corner MP CAMERA 
[NCN-90022-F1]

    - Performance:

      - The camera shall be able to view the entire floor and all four walls of a 15 foot square room (4.5x4.5 m), including the two walls to which it is attached.

      - The camera shall be available with a 2.0 mm wide-angle lens allowing a full 121º H-FoV and 91º V-FoV of the entire room.

      - The camera shall have no exposed wiring or anchor points, making it highly vandal-resistant and suitable for suicide watch.

      - The camera shall have automatic, photocell-controlled day-night switching.

      - The camera shall have a 1/2.7” CMOS sensor with mechanical filter technology for vivid daytime color and effective night-time performance under infrared illumination.

      - The camera shall produce a resolution of 1440 x 1080 pixels at 30 ips.

      - The camera shall produce a signal to noise ratio of greater than 39 dB (AGC off) under normal daylight conditions.

      - The camera shall have a dynamic range of greater than 69 dB under normal daylight conditions.

      - The camera shall incorporate automatic switching between day and night modes.

      - The camera shall have daytime color mode.

      - The camera shall have night-time IR monochrome mode.

      - The camera shall operate at zero lux in night-time monochrome mode.

      - The camera shall have high light sensitivity

Color: 0.3 lx (0.03 fc)

Monochrome: 0.0 lx (IR on)

      - The camera design shall eliminate the possibility of focus shift to ensure accurate focus for a daytime average wavelength of 500 nm and a night-time average wavelength of 940 nm.

      - The camera shall produce accurate color representation by eliminating IR bleed and/or other color distortions.

      - The camera shall produce outstanding contrast characteristics for reduced glare and streaking.

      - The camera shall incorporate infrared illumination to reduce image noise at night, enabling better compression, reducing bit rates and enhancing network stability.

      - The camera shall be equipped with 3 high efficiency LED infrared array allowing for clear pictures in zero lux conditions.

      - The LEDs shall be optimized to produce an evenly-distributed field of illumination at 940 nm.

      - The LEDs shall be intensity-adjustable.

      - The camera shall offer the following audio standards:

        - AAC

        - G.711, 8 kHz sampling rate

        - L16, 16 kHz sampling rate

    - Construction

      - The camera shall be ruggedized for vandal resistance.

      - The camera shall be in a truncated tetrahedron shape ensuring a flush installation into ceiling/wall corners.

      - The camera shall have no exposed wiring or anchor points, making it highly vandal-resistant and suitable for suicide watch.

      - The camera shall incorporate a 45° tilted face to enable viewing of entire rooms, including directly underneath the camera itself.

      - The camera shall have a flush-mounted front faceplate secured in place with three tamper-resistant screws.

      - The camera shall have a gasket behind the faceplate to ensure water-tightness from periodic splashes of liquids caused through attempted vandalism or cleaning.

      - The camera shall be rated to IP 65 standard against water and dust ingress.

      - The camera shall be rated to IK10 impact.

      - The camera housing shall be equipped with two separate windows, one for IR light transmission and the other for video imaging.

      - The camera shall have pre-harnessed connectors allowing simple plug and play installation.

      - The camera housing shall be made of welded aluminum.

      - The camera shall be powder-coat painted in white.

      - The camera shall operate at a temperature range from -10°C to +50°C (14°F to +122°F).

    - General Characteristics:

      - The camera shall offer Content-based Imaging Technology (C-BIT).

      - The camera shall utilize Intelligent Dynamic Noise Reduction (iDNR) technology to reduce the bitrate and storage requirements by removing noise artifacts.

      - The camera shall provide direct network connection using H.264 and JPEG compression and bandwidth throttling to efficiently manage bandwidth and storage requirements while delivering outstanding image quality.

      - The camera shall provide six configurable user modes that provide optimized settings for distinct applications.

      - The camera shall provide four independent, fully programmable privacy mask areas.

      - The camera shall provide enhanced night viewing through the increase of IR sensitivity by automatically switching a motorized IR filter from color to monochrome operation in low-light or IR illuminated applications.

      - The camera shall provide a CVBS (NTSC), 1 Vpp, 75 Ohm analog output on a 2.5 mm jack connector for installation purposes.

      - The camera shall utilize pixel-by-pixel analysis to automatically compensate for bright areas of a high contrast scene (Backlight) without having to define a window or area.

    - Installation Requirements

      - The camera shall have power and alarm cable connectors which can be removed when the camera is mounted.

      - The camera shall provide power, video, and control via an Ethernet connection and a PoE switch.

      - The camera shall be capable of simultaneous connection to PoE and to 12 VDC/24 VAC power supplies.

    - Storage Management

      - The camera shall support iSCSI devices to allow video stream to be recorded directly to an iSCSI RAID array.

      - The camera shall support iSCSI storage targets to enable the camera to function as a conventional DVR.

      - The camera shall have a microSD card slot that uses standard; off-the-shelf microSD (SDHC and SDXC) cards for local storage (up to 2 TB).

    - Alarm Handling Features:

      - The camera shall provide an active low alarm input.

      - The camera shall provide the capability on alarm to display up to a 31 character, programmable alarm message.

      - The camera shall provide a normally open alarm output. The alarm output can be activated from an external alarm input to the camera, manual activation from the browser, upon video motion detection, an alarm task script or video loss.

      - The camera shall provide email alarm messaging with optional JPEG posting.

    - IP Connectivity

      - The camera shall generate multiple simultaneous video streams in H.264 and M-JPEG with configurable frame rates and bandwidth.

      - The camera shall allow full camera control and configuration capabilities over the network.

      - The camera shall work with Power over Ethernet IEEE 802.3af (802.3at Type 1).

      - The camera shall deliver 1440x1080 video, at rates up to 30 images per second.

      - The camera shall support AutoMDIX.

      - The camera shall conform to the ONVIF Profile S standard.

    - Embedded Video Content Analysis

      - The camera shall be VCA enabled.

      - The camera shall offer MOTION+ video motion analysis that uses an algorithm based on pixel change.

      - The camera MOTION+ feature shall include object size filtering and tamper-detection capabilities.

    - Surveillance Software

      - The camera shall be accessible from a web browser, with the Bosch Video Management System, with the Bosch Video Client, or with the Bosch Video Security iPad App.

      - The camera shall be accessible from the Bosch Security System iPad App with the separately available Bosch transcoder. The App shall allow complete camera control and shall display images over low bandwidth connections.

    - Access Security

      - The camera shall offer three levels of password protection.

      - The camera shall support 802.1x authentication using a RADIUS (Remote Authentication Dial In User Service) server.

      - The camera shall store a SSL certificate for use with HTTPS.

      - [The camera shall be capable of being independently AES encrypted with 128-bit keys.]

    - Image Posting

      - The camera shall offer periodic JPEG image posting to an FTP server or to a Dropbox account.

      - The camera shall offer best face detection and JPEG best face image posting to FTP server or to a Dropbox account.

    - Specifications

      - Electrical:

        - Input voltage:

          - [+12 VDC]

          - [ 24 VAC]

          - [Power-over-Ethernet (48 VDC nominal)]

        - Power consumption

          - [8.4 W max. (12 VDC, PoE)]

          - [10.8 VA max. (+24 VAC)]

        - PoE: IEEE 802.3af (802.3at Type 1) Power level: Class 3

      - Video

        - Sensor type: 1/2.7-inch CMOS

        - Resolution: 1440 x 1080

        - Sensitivity Color:

          - Color: 0.3 lx

          - Mono: 0.0 lx (IR on)

        - Dynamic range: 69 dB

        - True Day/Night: Auto, Color, Monochrome

        - Shutter speed:

          - Automatic Electronic Shutter (AES)

          - Fixed 1/30 (1/25) to 1/15000

        - SD Video resolution: VGA, QVGA

        - Video compression: H.264 MP (Main Profile); M-JPEG

        - Max. frame rate: 30 ips (M-JPEG frame rate can vary depending on system loading)

        - Video Settings: Video watermarking, Alarm mode stamping, Image mirror, Image flip, Contrast, Saturation, Brightness, White balance, Sharpness level, Contrast enhancement, Backlight Compensation, Privacy Mask, Motion detection, Tamper alarm, Upright mode, Pixel counter

      - Night vision

        - IR LEDs: 3 high efficiency LEDs, 940 nm

        - IR coverage: 9 m (30 ft)

      - Lens

        - Lens type: Fixed 2.0 mm, F2.0

        - Lens mount: Board mounted:

        - Horizontal field of view: 121°

        - Vertical field of view: 91°

      - Connection

        - Analog video out (for installation only): 2.5 mm jack connector (1 Vpp CVBS, NTSC)

        - Alarm input:  0 to 3.3 VDC, low active

        - Alarm output: 60 VDC or 60 VAC (max), load current: 1 A (max)

      - Audio

        - Audio input:

          - Line in 3.5 mm mono connector

          - 0.707 Vrms, impedance 20k Ohm (typical)

        - Audio output:

          - Line out 3.5 mm mono connector

          - 0.707 Vrms, impedance 10k Ohm (typical)

        - Audio communication: Two-way, full duplex

        - Audio compression: AAC, G.711, L16 (live and recording)

      - Local Storage

        - Internal RAM: 10 s pre-alarm recording

        - Memory card slot: Supports up to 32 GB microSDHC / 2 TB microSDXC card. (An SD card of Class 6 or higher is recommended for HD recording)

        - Recording: Continuous recording, ring recording. alarm/events/schedule recording

      - Software Control

        - Unit configuration: Via web browser or PC surveillance software

      - Network

        - Protocols: IPv4, IPv6, UDP, TCP, HTTP, HTTPS, RTP/RTCP, IGMP V2/V3, ICMP, ICMPv6, RTSP, FTP, Telnet, ARP, DHCP, SNTP, SNMP (V1, MIB-II), 802.1x, DNS, DNSv6, DDNS, SMTP, iSCSI, UPnP (SSDP), DiffServ (QoS), LLDP, SOAP, Dropbox, CHAP, Digest Authentication.

        - Encryption: TLS 1.0, SSL, DES, 3DES, AES (optional)

        - Ethernet: 10/100 Base-T, auto-sensing, half/full duplex

        - Ethernet connector: RJ45

        - Connectivity: ONVIF Profile S, Auto-MDIX

      - Mechanical

        - Dimensions (W x H x D): 240 x 146 x 169 mm (9.45 x 5.75 x 6.65 in.)

        - Weight: 1840 g (4.06 lb) approx.

      - Environmental

        - Operating temperature: -10 ºC to +50 ºC (14 ºF to +122 ºF)

        - Storage temperature: -30 ºC to +60 ºC (-22 ºF to +140 ºF)

        - Humidity: 20% to 90% relative humidity (non condensing)

  - ACCESSORIES

    - Power Supplies

      - UPA-2420-50, 220 VAC, 50 Hz, 24 VAC, 20 VA Out

      - UPA-2430-60, 120 VAC, 60 Hz, 24 VAC, 30 VA Out

    - Components

      - S1460 Service/Monitor Cable

      - NCA-CMT-GF FLEXIDOME corner 9000 Grey faceplate

    - Software Options

      - MVC-FENC-AES BVIP AES 128 bit Encryption License

- – EXECUTION

  - EXAMINATION

    - Examine areas to receive devices and notify adverse conditions affecting installation or subsequent operation.

    - Do not begin installation until unacceptable conditions are corrected.

  - PREPARATION

    - Protect devices from damage during construction.

  - INSTALLATION

    - Install devices in accordance with manufacturer’s instruction at locations indicated on the floor drawings plans.

    - Ensure selected location is secure and offers protection from accidental damage.

    - Location must provide reasonable temperature and humidity conditions, free from sources of electrical and electromagnetic interference.

  - FIELD QUALITY CONTROL

    - Test snugness of mounting screws of all installed equipment.

    - Test proper operation of all video system devices.

    - Determine and report all problems to the manufacturer’s customer service department.

  - ADJUSTING

    - Make proper adjustment to video system devices for correct operation in accordance with manufacturer’s instructions.

    - Make any adjustment of camera settings to comply with specific customer’s need.

  - DEMONSTRATION

    - Demonstrate at final inspection that video management system and devices function properly.

END OF SECTION

# Text boxes

Specifier Notes:  This product guide specification is written according to the Construction Specifications Institute (CSI) 3-Part Format, based on MasterFormat 2004 and The Project Resource Manual—CSI Manual of Practice. The Manufacturer is responsible for technical accuracy.

The section must be carefully reviewed and edited by the Architect or Engineer to meet the requirements of the project and local building code.  Words and sentences within brackets [ ] are choices to include or exclude a particular item or statement.  Coordinate this section with other specification sections and the Drawings.  Delete all “Specifier Notes” after editing this section.