January 2014

| Americas Bosch Security Systems, Inc. 130 Perinton Parkway Fairport, New York, 14450, USA Phone: + 1 800 289 0096 Fax: +1 585 223 9180 security.sales@us.bosch.com www.boschsecurity.us | Europe, Middle East, Africa Bosch Security Systems B.V. P.O. Box 80002 5617BAEindhoven, The Netherlands Phone: + 31 40 2577 284 Fax: +31 40 2577 330 emea.securitysystems@bosch.com www.boschsecurity.com | Asia-Pacific Robert Bosch (SEA) Pte Ltd, Security Systems 11 Bishan Street 21 Singapore 573943 Phone: +65 6571 2808 Fax: +65 6571 2699 apr.securitysystems@bosch.com www.boschsecurity.com |
| --- | --- | --- |

Product Guide Specification

SECTION 28 23 29

VIDEO SURVEILLANCE REMOTE DEVICES AND SENSORS

Bosch DINION IP 4000 HD CAMERA

- – GENERAL

  - SUMMARY

    - Section Includes

      - Video Surveillance Remote Devices

    - Related Sections

      - Section [28 23 13 – Video Surveillance Control and Management Systems].

      - Section [28 23 16 – Video Surveillance Monitoring and Supervisory Interfaces].

      - Section [28 23 19 – Digital Video Recorders and Analog Recording Devices].

      - Section [28 23 23 – Video Surveillance Systems Infrastructure].

**********Specifier’s note: Include those standards referenced elsewhere in this SECTION.

  - REFERENCES

    - Australia and New Zealand Standards

      - AS/NZS CISPR 22 Information technology equipment - Radio disturbance characteristics - Limits and methods of measurement

      - Conforms to C-tick standards

    - Canadian Standards Association (CSA)

      - CAN/CSA-C22.2 No. 60950-1 Information Technology Equipment - Safety - Part 1: General Requirements (Bi-National standard, with UL 60950-1)

      - Conforms to cUL standards

    - European Norm

      - EN 50121-4:2006 Railway Applications - Electromagnetic Compatibility - Part 4: Emission And Immunity Of The Signaling And Telecommunications Apparatus

      - EMC directive 2004/108/EC

      - EN 50130-4:1995+A1:1998+A2:2003 (CE) Alarm Systems, Part 4 – Electromagnetic Compatibility – Product Family Standard: Immunity Requirements for Components of Fire, Intruder and Social Alarm Systems.

      - EN 50130-5: Alarm Systems, Class II – Environmental Test Methods (corresponds with VDE 0830 parts 1-5), level 3

      - EN 50132-5-2: Alarm systems - CCTV surveillance systems for use in security applications - Part 5-2: IP Video Transmission Protocols

      - EN 55022, Class B – Information Technology Equipment – Radio Disturbance Characteristics – Limits and Methods of Measurement for Emission

      - EN 55024 Information technology equipment. Immunity characteristics. Limits and methods of measurement

      - EN60950-1 – Safety of information technology equipment (IT Equipment)

      - CE Automotive environment

      - CE Declaration of Conformity

      - CB scheme

    - Federal Communications Commission (FCC) (www.fcc.gov)

      - FCC CFR 47 part 15; subpart B, Class B Digital Devices

    - Industry Canada

      - ICES-003 Class B Spectrum Management and Telecommunications Policy Interference-Causing Equipment Standard

    - International Electrotechnical Commission (IEC):

      - IEC 62676-2-3: Video surveillance systems for use in security applications – Part 2-3: Video transmission protocols – IP interoperability implementation based on WEB services.

    - International Organization for Standardization (ISO)

      - 9001: Quality System

    - Underwriters Laboratories, Inc. (UL) (www.ul.com)

      - UL 60950-1 UL Standard for Safety of Information Technology Equipment

    - Voluntary Control Council for Interference (VCCI)

      - VCCI J55022 V2/V3

  - DEFINITIONS

    - Day/Night (infrared sensitive): The camera has normal color operation in situations where there is sufficient illumination (day conditions), but when there is little light available (night conditions) the sensitivity is increased by removing the infrared cut-off filter to provide a monochrome image.

    - Privacy Masking: The ability to mask out a specific area to prevent it from being viewed in order to comply with privacy laws and particular site requirements.

    - iDNR (intelligent Dynamic Noise Reduction): The Intelligent Dynamic Noise Reduction applies temporal noise filtering when no motion is detected. The filtering reduces the noise in the image and this makes the encoder step more effective.

  - SYSTEM DESCRIPTION

    - Video Surveillance Remote Devices

      - NBN-40012 DINION IP 4000 HD Day/Night IP Camera

    - Performance Requirements

      - 1/2.7-inch CMOS HD with progressive scan.

      - High resolution 720p, HD format.

      - High sensitivity in color and monochrome modes.

      - Local storage with microSD card.

      - Quad-streaming IP video.

      - Intelligent noise reduction reduces bandwidth and storage requirements by up to 30%.

      - ONVIF conformant.

  - SUBMITTALS

    - Submit under provisions of Section [01 33 00].

    - Product Data:

      - Manufacturer’s data, user and installation manuals for all equipment and software programs including computer equipment and other equipment required for complete video management system.

    - Shop Drawings; include

      - System device locations on architectural floor plans.

      - Full Schematic of system, including wiring information for all devices.

    - Closeout Submittals

      - User manual.

      - Parts list.

      - System device locations on architectural floor plans.

      - Wiring and connection diagram.

      - Maintenance requirements.

  - QUALITY ASSURANCE

    - Manufacturer:

      - Minimum of [10] years experience in manufacture and design Video Surveillance Devices.

      - Manufacturer’s quality system: Registered to ISO 9001 Quality Standard.

    - Video Surveillance System

      - Listed by [UL] [EN] [FCC] specifically for the required loads.  Provide evidence of compliance upon request.

    - Installer:

      - Minimum of [5] years experience installing Video IP Surveillance System.

  - DELIVERY, STORAGE AND HANDLING

    - Comply with requirements of Section [01 60 00].

    - Deliver materials in manufacture’s original, unopened, undamaged containers; and unharmed original identification labels.

    - Protect store materials from environmental and temperature conditions following manufacturer’s instructions.

    - Handle and operate products and systems according to manufacturer’s instructions.

    - Bosch provides off-the-shelf availability for our top selling products and same-day or 24-hour shipping.

  - WARRANTY

    - Provide manufacturer’s warranty covering [3] years for replacement and repair of defective equipment.

  - MAINTENANCE

    - Make ordering of new equipment for expansions, replacements, and spare parts available to dealers and end users.

    - Provide factory direct technical support from 8:00 a.m. to 8:00 p.m. via phone and e-mail.

- – PRODUCTS

  - MANUFACTURERS

    - Acceptable Manufacturer:

[Bosch Security Systems, Inc.

130 Perinton Parkway

Fairport, New York, 14450, USA

Phone: + 1 800 289 0096

Fax: + 1 585 223 9180

security.sales@us.bosch.com

www.boschsecurity.us]

[Bosch Security Systems B.V.

P.O. Box 80002

5617 BA Eindhoven, The Netherlands

Phone: + 31 40 2577 284

Fax: +31 40 2577 330

emea.securitysystems@bosch.com

www.boschsecurity.com]

[Bosch Security Systems Pte Ltd

Robert Bosch (SEA) Pte Ltd, Security Systems

11 Bishan Street 21

Singapore 573943

Phone: +65 6571 2808

Fax: +65 6571 2699

apr.securitysystems@bosch.com

www.boschsecurity.com]

    - Substitutions: [Not permitted.] [Under provisions of Division 1.]

      - [All proposed substitutions must be approved by the Architect or Engineer professional.]

      - [Proposed substitutions must provide a line-by-line compliance documentation.]

**********Specifier’s note: Select Camera System Series based on project requirement.

  - DINION IP 4000 HD [NBN-40012-C] [NBN-40012-V3]

    - General Characteristics:

      - The camera shall utilize a 1/2.7-inch CMOS HD image sensor.

      - The camera shall high sensitivity in color (0.25 lx) and monochrome modes (0.05 lx).

      - The camera shall offer Content-based Imaging Technology (C-BIT).

      - The camera shall utilize Intelligent Dynamic Noise Reduction (iDNR) technology to reduce the bitrate and storage requirements by removing noise artifacts.

      - The camera shall produce a resolution of 1280 x 720 pixels 
(HD 720p) at 30 ips with a 16:9 image format.

      - The camera shall provide direct network connection using H.264 and JPEG compression and bandwidth throttling to efficiently manage bandwidth and storage requirements while delivering outstanding image quality.

      - The camera shall work with Power over Ethernet IEEE 802.3af (802.3at type 1) for indoor applications with a compliant power supply source.

      - The camera shall support AutoMDIX.

      - The camera shall conform to the ONVIF Profile S specification.

      - A user shall be able to view video on a PC using a Web browser, with the Bosch Video Management System, Bosch Video Client or Bosch Recording Station.

      - The camera shall provide MOTION+ video motion detection analysis system that provides basic video content analysis.

      - The camera shall provide six configurable user modes that provide optimized settings for distinct applications.

      - The camera shall provide four independent, fully programmable privacy mask areas.

      - The camera shall provide an on-screen display to simplify the camera/lens back focus and network configuration settings.

      - The camera shall provide enhanced night viewing through the increase of IR sensitivity by automatically switching a motorized IR filter from color to monochrome operation in low-light or IR illuminated applications. Allow the IR filter to be switched manually via the alarm input, preprogrammed in a camera mode or profile.

      - The camera shall utilize pixel-by-pixel analysis to automatically compensate for bright areas of a high contrast scene (Back light) without having to define a window or area.

    - Imaging

      - The camera shall utilize a 1/2.7-inch CMOS HD image sensor.

      - The camera shall produce a resolution of 1280x 720 pixels (HD 720p) at 30 ips with a 16:9 aspect ratio.

      - The camera shall produce a resolution of 704x 480 pixels (D1) at 30 ips with a 4:3 aspect ratio.

      - The camera shall offer intelligent Dynamic Noise Reduction to reduce bandwidth and storage requirements by optimizing the detail-to-bandwidth ratio via temporal and spatial noise filtering.

      - The camera shall offer regions of interest to zoom into a specific area of the full image.

      - The camera shall allow regions of interest to be sent in separate streams so it is possible to view both an overview and a detail at the same time.

      - The camera shall offer a dynamic range of 76 dB (typical).

      - The camera shall provide a frame integration mode that can increase the integration time up to 10 times on the CMOS sensor.

      - The camera shall produce a color image with a minimum scene illumination of 0.25 lux (and a monochrome image, when in the night mode, with a minimum illumination of 0.05 lux) at 30 IRE.

      - The camera shall provide enhanced night viewing through the increase of IR sensitivity by automatically switching a motorized IR filter from color to monochrome operation in low-light or IR illuminated applications. Allow the IR filter to be switched manually via the alarm input, preprogrammed in a camera mode or profile.

      - The camera shall utilize pixel-by-pixel analysis to automatically compensate for bright areas of a high contrast scene (Back light) without having to define a window or area.

    - HD Characteristics

      - The camera shall generate HD 720p resolution using H.264 compression.

      - The camera shall generate multiple simultaneous video streams in H.264 and M-JPEG with configurable frame rates and bandwidth.

    - Installation Requirements

      - The camera shall be capable of operating in an indoor environment within the following temperature range:

        - -30°C to +50°C (-22°F to 122°F)

      - The camera shall have power and alarm cable connectors which can be removed when the camera is mounted.

      - The camera shall provide power, video, and control via an Ethernet connection.

      - The day/night IP camera shall be capable of simultaneous connection to both PoE and 12 VDC power supplies.

      - The camera shall accept CS mount type lenses and detect automatically the type of lens used and optimize performance accordingly.

      - The camera shall provide a lens wizard to allow focusing at maximum lens opening to ensure that the objects of interest within the field of view always remain in focus.

      - The camera shall provide a multi-language on-screen display.

    - Recording and Storage Management

      - The camera shall support iSCSI devices to allow video stream to be recorded directly to an iSCSI RAID array.

      - The camera shall support iSCSI storage targets to enable the camera to function as a conventional DVR.

      - The camera shall have a microSD card slot that uses standard; off-the-shelf microSD (SDHC and SDXC) cards for local storage (up to 2 TB).

      - The local storage feature shall be capable of storage for Automatic Network Replenishment (ANR).

      - Local Recording: Continuous recording, ring recording, alarm/events/schedule recording

    - Alarm Handling Features:

      - The camera shall provide an alarm input that may be triggered by either a normally opened or normally closed contact.

      - The camera shall provide the capability on alarm to display up to a 31 character, programmable alarm message.

      - The camera shall provide a relay output that may be selected for normally opened or normally closed operation. The relay can be activated from an external alarm input to the camera, manual activation from the browser, upon video motion detection, an alarm task script or video loss.

      - The camera shall provide email alarm messaging with optional JPEG posting.

    - IP Connectivity

      - The camera shall allow full camera control and configuration capabilities over the network.

      - The camera shall offer Power over Ethernet (IEEE 802.3at Class 1) for indoor applications.

      - The camera shall deliver 720p HD video, at rates up to 30 images per second, via TCP/IP over Shielded Cat5/Cat6 cable.

      - The camera shall conform to the ONVIF Profile S standard.

    - Embedded Video Content Analysis

      - The camera shall be VCA enabled.

      - The camera shall offer MOTION+ video motion analysis that uses an algorithm based on pixel change.

      - The camera MOTION+ feature shall include object size filtering and tamper-detection capabilities.

    - Video Analysis

      - The camera shall be capable of processing and analyzing video within the camera itself, with no extra hardware required.

      - The camera shall be capable of detecting and sending alarms for abnormal events.

      - The camera shall allow users to set up to 10 separate profiles and switch profiles based on a day/night or holiday schedules.

    - Surveillance Software

      - The camera shall be accessible from a web browser, with the Bosch Video Management System, with the Bosch Recording System, or with the Bosch Video Client.

      - The camera shall be accessible from the Bosch Security System iPad App. The App shall allow complete camera control and shall display images over low bandwidth connections.

    - Access Security

      - The camera shall offer three levels of password protection.

      - The camera shall support 802.1x authentication using a RADIUS (Remote Authentication Dial In User Service) server.

      - The camera shall store a SSL certificate for use with HTTPS.

      - The camera shall be capable of being independently AES encrypted with 128-bit keys.

    - Image Posting

- The camera shall offer periodic JPEG image posting to an FTP server or a Dropbox account.

    - Electrical

      - Power Supply:

          - 12 VDC ± 10%

          - PoE 48 VDC nominal (IEEE 802.3at type 1 compliant)

      - Current Consumption:

          - 12 VDC: 300 mA

          - PoE (48 VDC): 75 mA

      - Power Consumption: 3.6 W

    - Sensor

      - Type: 1/2.7-inch CMOS HD

      - Active Pixels: 1280 x 720

    - Video

      - Video Compression: H.264, M-JPEG, JPEG

      - Multiple configurable streams:

          - Stream 1:

            - H.264 Main Profile (MP) 720p 25/30

or

H.264 MP Standard Definition (SD)

          - Stream 2:

            - Copy of stream 1

or

H.264 MP Standard Definition (SD)

          - M-JPEG stream

          - High Definition (HD) I‑frame only stream

      - Resolution (H x V):

        - 720p HD: 1280 x 720

        - 480p SD

          - Encoding: 704 x 480

          - Displayed: 854 x 480

        - 432p SD: 768 x 432

        - 288p SD: 512 x 288

        - 240p SD:

          - Encoding: 352 x 240

          - Displayed: 432 x 240

        - 144p SD: 256 x 144

        - Corridor mode: 400 x 720

        - D1 4:3 cropped: 704 x 480

      - Overall IP Delay: Min. 120 ms, Max. 340 ms

      - GOP Structure: IP, IBP, IBBP,

      - Sensitivity (3200K, Scene Reflectivity 89%, F1.4)

        - Minimum Illumination (30 IRE):

          - Color: 0.22 lx (0.022 fc)

          - Monochrome: 0.05 lx (0.005 fc)

      - Day/Night: Color, Monochrome, Auto

      - White Balance:

        - ATW (2500 to 10000K)

        - ATW hold and manual

      - Shutter: Automatic Electronic Shutter (AES) Fixed (1/30 [1/25] to 1/15000) selectable, default shutter

      - Backlight Compensation: On, Off, (BLC)

      - Noise Reduction: Intelligent Dynamic Noise Reduction (iDNR) with separate temporal and spatial adjustments

      - Sharpness: Sharpness enhanced level selectable

      - Dynamic Range: 76 dB

      - Privacy Masking: Four (4) independent areas, fully programmable

      - Video Motion Analysis: MOTION+

      - Dual Region of Interest on second stream. The first two client applications connecting to the second stream get an independent Region of Interest with Pan Tilt Zoom control.

    - Audio

      - The camera shall offer the following audio standards:

        - AAC

        - G.711, 8 kHz sampling rate

        - L16

      - Signal-to-Noise Ratio: >50 dB

      - Audio Streaming: Full duplex / Half duplex

      - Built-in microphone, Line in, Line out

    - Input/Output

      - Audio: 1 x mono line in, 1 x mono line out

        - Connector: 3.5 mm mono jack

        - Signal Line In: 20 kOhm typical, 0.707 Vrms max.

        - Signal Line Out: 0.707 Vrms at 10 kOhm, typical

      - Alarms: 1 input

        - Activation Voltage: +0 to +3.3 VDC, low active

      - Alarm: 1 output

        - Voltage: 24 VAC or +30 VDC Max. 1A

    - Local Storage

      - Memory Card Slot: Supports SDHC and SDXC microSD cards

      - Recording: Continuous recording, ring recording, alarm/events/schedule recording

    - Software Control

      - Unit Configuration: Via Web browser or Configuration Manager

      - Software Update: Flash ROM, remote programmable

    - Network

      - Protocols: IPv4, IPv6, UDP, TCP, HTTP, HTTPS, RTP/RTCP, IGMP V2/V3, ICMP, ICMPv6, RTSP, FTP, Telnet, ARP, DHCP, SNTP, SNMP (V1, MIB-II), 802.1x, DNS, DNSv6, DDNS, SMTP, iSCSI, UPnP (SSDP), DiffServ (QoS), LLDP, SOAP, Dropbox, CHAP, Digest Authentication.

      - Ethernet: STP, 10/100 Base-T, auto-sensing, half/full duplex, RJ45

      - Connectivity:

        - ONVIF Profile S

        - Auto-MDIX

    - Mechanical:

      - Dimensions (H x W x L): 55 x 64 x 111 mm (2.17 x 2.52 x 4.37 in) without lens

      - Weight: 550 g (1.21 lb) without lens

      - Color: RAL 9017 Traffic black

      - Tripod Mount: Bottom and top 1/4-in. 20 UNC

    - Environmental:

      - Operating Temperature Range: -30°C to +50°C (-22°F to 122°F)

      - Storage Temperature Range: -40°C to +70°C (-40°F to 158°F)

      - Operating Humidity: 0% to 90% relative humidity

  - ACCESSORIES

    - Lenses

      - LVF-5005C-S0940 Varifocal SR Megapixel Lens

      - LVF-5005C-S1803 Varifocal SR Megapixel Lens

    - Illuminators

      - EX12LED-3BD-8M Infrared Illuminator

      - EX12LED-3BD-8W Infrared Illuminator

      - EX12LED-3BD-9M Infrared Illuminator

      - EX12LED-3BD-9W Infrared Illuminator

    - Video over IP Accessories

      - VJT-XTCXF Video Transcoder

    - Software Options

      - MVC-FENC-AES BVIP AES 128 bit Encryption License

- – EXECUTION

  - EXAMINATION

    - Examine areas to receive devices and notify adverse conditions affecting installation or subsequent operation.

    - Do not begin installation until unacceptable conditions are corrected.

  - PREPARATION

    - Protect devices from damage during construction.

  - INSTALLATION

    - Install devices in accordance with manufacturer’s instruction at locations indicated on the floor drawings plans.

    - Perform installation with qualified service personnel.

    - Ensure selected location is secure and offers protection from accidental damage.

    - Location must provide reasonable temperature and humidity conditions, free from sources of electrical and electromagnetic interference.

  - FIELD QUALITY CONTROL

    - Test snugness of mounting screws of all installed equipment.

    - Test proper operation of all video system devices.

    - Determine and report all problems to the manufacturer’s customer service department.

  - ADJUSTING

    - Make proper adjustment to video system devices for correct operation in accordance with manufacturer’s instructions.

    - Make any adjustment of camera settings to comply with specific customer’s need.

  - DEMONSTRATION

    - Demonstrate at final inspection that video management system and devices function properly.

END OF SECTION

# Text boxes

Specifier Notes:  This product guide specification is written according to the Construction Specifications Institute (CSI) 3-Part Format, based on MasterFormat 2004 and The Project Resource Manual—CSI Manual of Practice. The Manufacturer is responsible for technical accuracy.

The section must be carefully reviewed and edited by the Architect or Engineer to meet the requirements of the project and local building code.  Words and sentences within brackets [ ] are choices to include or exclude a particular item or statement.  Coordinate this section with other specification sections and the Drawings.  Delete all “Specifier Notes” after editing this section.