December 2012

| Americas Bosch Security Systems, Inc. 130 Perinton Parkway Fairport, New York, 14450, USA Phone: + 1 800 289 0096 Fax: +1 585 223 9180 security.sales@us.bosch.com www.boschsecurity.us | Europe, Middle East, Africa Bosch Security Systems B.V. P.O. Box 80002 5617 BA Eindhoven, The Netherlands Phone: + 31 40 2577 284 Fax: +31 40 2577 330 emea.securitysystems@bosch.com www.boschsecurity.com | Asia-Pacific Robert Bosch (SEA) Pte Ltd, Security Systems 11 Bishan Street 21 Singapore 573943 Phone: +65 6571 2808 Fax: +65 6571 2699 apr.securitysystems@bosch.com www.boschsecurity.com |
| --- | --- | --- |

Product Guide Specification

SECTION 28 23 29

VIDEO SURVEILLANCE REMOTE DEVICES AND SENSORS

BOSCH FLEXIDOME HD 1080p VR CAMERA

- – GENERAL

  - SUMMARY

    - Section Includes

      - Video Surveillance Remote Devices.

    - Related Sections

      - Section [28 23 13 – Video Surveillance Control and Management Systems].

      - Section [28 23 16 – Video Surveillance Monitoring and Supervisory Interfaces].

      - Section [28 23 19 – Digital Video Recorders and Analog Recording Devices].

      - Section [28 23 23 – Video Surveillance Systems Infrastructure].

**********Specifier’s note: Include those standards referenced elsewhere in this SECTION.

  - REFERENCES

    - European Norm

      - CE Declaration of Conformity

      - EN55022 class B (CE) – Information Technology Equipment – Radio Disturbance Characteristics – Limits and Methods of Measurement for Emission

    - Federal Communications Commission (FCC) (www.fcc.gov)

      - FCC CFR 47 part 15 class B – Telecommunications – Radio Frequency Devices – Digital Device Emission.

    - HD Standards

      - Complies with the SMPTE 274M-2008 standard

      - Complies with the 296M-2001 standard

    - Immunity

      - EN50121-4 (CE) – Railway applications – Electromagnetic compatibility. Emission and immunity of the signaling and telecommunications apparatus.

      - EN50130-4 (CE) (PoE, +12 VDC, 24 VAC) Alarm Systems, Part 4 – Electromagnetic Compatibility – Product Family Standard: Immunity Requirements for Components of Fire, Intruder and Social Alarm Systems

    - International Electrotechnical Commission (IEC)

      - Camera with 500 g (1.1 lb) lens according to IEC 60068-2-6 Vibration.

    - International Organization for Standardization (ISO)

      - 9001 – Quality System.

    - Safety

      - EN60950-1 - Information technology equipment. Safety. General requirements

      - UL60950-1 Second Edition - Information technology equipment. Safety. General requirements

      - CAN/CSA 22.2 No 60950-1 - Information technology equipment. Safety. General requirements

    - Underwriters Laboratories, Inc. (UL) (www.ul.com)

      - UL certified

    - Vibration

      - Camera with lens as per IEC 60068-2-6 (5 m/s2, operational)

  - DEFINITIONS

    - Day/Night (infrared sensitive): A camera that has normal color operation in situations where there is sufficient illumination (day conditions), but where the sensitivity can be increased when there is little light available (night conditions). This is achieved by removing the infrared cut filter required for good color rendition. The sensitivity can be further enhanced by integrating a number of fields to improve the signal-to-noise ratio of the camera (this may introduce motion blur).

    - Privacy Masking: The ability to mask out a specific area to prevent it from being viewed in order to comply with privacy laws and particular site requirements.

    - SensUp (sensitivity up): Increases camera sensitivity by increasing the integration time on the CMOS sensor (lowering shutter time from 1/50s to 1/5 s – PAL; 1/60s to 1/6s - NTSC). This is accomplished by integrating the signal from a number of consecutive video fields to reduce signal noise.

    - Smart BLC (Back Light Compensation): Smart back-light compensation allows the camera to automatically compensate for bright areas of a high contrast scene without having to define a window or area.

    - CBIT (Content Based Imaging Technology): By intelligently combining information from the sensor, the image processor, the encoder and IVA subsystems, the image quality is boosted and the bit rate is reduced significantly.

    - iAE (intelligent Auto Exposure): Intelligent Auto Exposure ensures clear visibility of dark moving objects in the scene against a bright background or vice versa

    - iDNR (intelligent Dynamic Noise Reduction): The Intelligent Dynamic Noise Reduction applies temporal noise filtering when no motion is detected. The filtering reduces the noise in the image and this makes the encoder step more effective.

  - SYSTEM DESCRIPTION

    - Video Surveillance Remote Devices

      - FLEXIDOME HD 1080p VR Camera

    - Performance Requirements

      - 1/2.7-inch CMOS HD with progressive scan.

      - High resolution 1080p, HD format.

      - High sensitivity in color and monochrome modes.

      - Local storage with microSD card.

      - Multiple H.264 HD video streams.

      - Intelligent noise reduction reduces bandwidth and storage requirements by up to 30%.

      - Aesthetic vandal-resistant enclosure, suitable for indoor or outdoor applications.

      - IP66 and NEMA 4 Type 4X rating.

      - IK10 impact protection (the equivalent of 55 kg (120 lbs))

      - ONVIF conformant.

  - SUBMITTALS

    - Submit under provisions of Section [01 33 00].

    - Product Data:

      - Manufacturer’s data, user and installation manuals for all equipment and software programs including computer equipment and other equipment required for complete video management system.

    - Shop Drawings; include

      - System device locations on architectural floor plans.

      - Full Schematic of system, including wiring information for all devices.

    - Closeout Submittals

      - User manual.

      - Parts list.

      - System device locations on architectural floor plans.

      - Wiring and connection diagram.

      - Maintenance requirements.

  - QUALITY ASSURANCE

    - Manufacturer:

      - Minimum of [10] years experience in manufacture and design Video Surveillance Devices.

      - Manufacturer’s quality system: Registered to ISO 9001 Quality Standard.

    - Video Surveillance System

      - Listed by [UL] [EN] [FCC] specifically for the required loads.  Provide evidence of compliance upon request.

    - Installer:

      - Minimum of [5] years experience installing Video IP Surveillance System.

  - DELIVERY, STORAGE AND HANDLING

    - Comply with requirements of Section [01 60 00].

    - Deliver materials in manufacture’s original, unopened, undamaged containers; and unharmed original identification labels.

    - Protect store materials from environmental and temperature conditions following manufacturer’s instructions.

    - Handle and operate products and systems according to manufacturer’s instructions.

    - Bosch provides off-the-shelf availability for our top selling products and same-day or 24-hour shipping.

  - WARRANTY

    - Provide manufacturer’s warranty covering [3] years for replacement and repair of defective equipment.

  - MAINTENANCE

    - Make ordering of new equipment for expansions, replacements, and spare parts available to dealers and end users.

    - Provide factory direct technical support from 8:00 a.m. to 8:00 p.m. via phone and e-mail.

- – PRODUCTS

  - MANUFACTURERS

    - Acceptable Manufacturer:

[Bosch Security Systems, Inc.

130 Perinton Parkway

Fairport, New York, 1450, USA

Phone: + 1 800 289 0096

Fax: + 1 585 223 9180

security.sales@us.bosch.com

www.boschsecurity.us]

[Bosch Security Systems B.V.

P.O. Box 80002

5617 BA Eindhoven, The Netherlands

Phone: + 31 40 2577 284

Fax: +31 40 2577 330

emea.securitysystems@bosch.com

www.boschsecurity.com]

[Bosch Security Systems Pte Ltd

Robert Bosch (SEA) Pte Ltd, Security Systems

11 Bishan Street 21

Singapore 573943

Phone: +65 6571 2808

Fax: +65 6571 2699

apr.securitysystems@bosch.com

www.boschsecurity.com]

    - Substitutions: [Not permitted.] [Under provisions of Division 1.]

      - [All proposed substitutions must be approved by the Architect or Engineer professional.]

      - [Proposed substitutions must provide a line-by-line compliance documentation.]

**********Specifier’s note: Select Camera System Series based on project requirement.

  - BOSCH FLEXIDOME starlight HD 720p60 VR CAMERA 
[NIN-832-V03P] [NIN-832-V03IP] [NIN-832-V03PS] [NIN-832-V03IPS] [NIN-832-V10P] [NIN-832-V10IP] [NIN-832-V10PS] [NIN-832-V10IPS]

    - General Characteristics:

      - The vandal resistant HD camera shall be capable of operating in an indoor or an outdoor environment.

      - The vandal resistant HD camera shall utilize a 1/2.7-inch CMOS HD image sensor.

      - The vandal resistant HD camera shall offer a 3-9 mm or a 10-23 mm automatic varifocal, super resolution lenses with an advanced iris design.

      - The vandal resistant HD camera shall have high light sensitivity

        - [Lens 3-9 mm:

          - Color: 0.22 lx (0.022 fc)

          - Monochrome: 0.05 lx (0.005 fc)]

        - [Lens 10-23 mm:

          - Color: 0.4 lx (0.04 fc)

          - Monochrome: 0.1 lx (0.01 fc)]

      - The vandal resistant HD camera shall offer Content-based Imaging Technology (C-BIT).

      - The vandal resistant HD camera shall utilize Intelligent Dynamic Noise Reduction (iDNR) technology to reduce the bitrate and storage requirements by removing noise artifacts.

      - The vandal resistant HD camera shall produce a resolution of 1920 x 1080 pixels (HD 1080p) at 30 ips with a 16:9 image format.

      - The vandal resistant HD camera shall produce a resolutions 1280 x 960 (960p HD) and of 704 x 480 (D1) pixels at 30 ips with a 4:3 image format.

      - The vandal resistant HD camera shall provide direct network connection using H.264 and JPEG compression and bandwidth throttling to efficiently manage bandwidth and storage requirements while delivering outstanding image quality.

      - The vandal resistant HD camera shall provide a CVBS (PAL/NTSC), 1 Vpp, BNC, 75 Ohm analog output that allows hybrid video output.

      - The vandal resistant HD camera shall be capable of operating as an indoor/outdoor camera within a temperature range of -30°C to 50°C 
(-22°F to 122°F).

      - The vandal resistant HD camera shall be rated to IP 66 (NEMA Type 4X) standard against water and dust ingress.

      - The vandal resistant HD camera shall be rated to IK10 impact protection (the equivalent of 55 kg (120 lbs)).

      - The vandal resistant HD camera shall work with Power over Ethernet IEEE 802.3af (802.3at Type 1).

      - The vandal resistant HD camera shall support AutoMDIX.

      - The vandal resistant HD camera shall conform to the ONVIF Profile S specification.

      - A user shall be able to view video on a PC using a Web browser, with the Bosch Video Management System, Bosch Video Client, Bosch Recording System, or with the Bosch Video Security iPad App.

      - The vandal resistant HD camera shall provide six configurable user modes that provide optimized settings for distinct applications.

      - The vandal resistant HD camera shall offer Intelligent Video Analysis (IVA).

      - The vandal resistant HD camera shall provide four independent, fully programmable privacy mask areas.

      - The vandal resistant HD camera shall provide an on-screen display to simplify the camera/lens back focus and network configuration settings.

      - The vandal resistant HD camera shall provide enhanced night viewing through the increase of IR sensitivity by automatically switching a motorized IR filter from color to monochrome operation in low-light or IR illuminated applications. Allow the IR filter to be switched manually via the alarm input, preprogrammed in a camera mode or profile.

      - The vandal resistant HD camera shall utilize pixel-by-pixel analysis to automatically compensate for bright areas of a high contrast scene (Back light) without having to define a window or area.

      - The vandal resistant HD camera shall provide intelligent Auto Exposure (iAE) to improve visibility of dark objects against a light background and vice versa. Use IVA to detect in which parts of the image local contrast enhancement can improve image usability.

    - Imaging

      - The vandal resistant HD camera shall utilize a 1/2.7-inch CMOS HD image sensor.

      - The vandal resistant HD camera shall produce a resolution of 1920 x 1080 pixels (HD 1080p) at 30 ips with a 16:9 aspect ratio.

      - The vandal resistant HD camera shall produce a resolution of 1280 x 960 pixels (HD 960p) at 30 ips with a 4:3 aspect ratio.

      - The vandal resistant HD camera shall produce a resolution of 1280 x 720 pixels (HD 720p) at 30 ips with a 16:9 aspect ratio.

      - The vandal resistant HD camera shall produce a resolution of 704x 480 pixels (D1) at 30 ips with a 4:3 aspect ratio.

      - [The vandal resistant HD camera shall utilize a 3 to 9 mm automatic varifocal super resolution lens.]

      - [The vandal resistant HD camera shall utilize a 10 to 23 mm automatic varifocal super resolution lens.]

      - The vandal resistant HD camera shall offer intelligent Dynamic Noise Reduction to reduce bandwidth and storage requirements by optimizing the detail-to-bandwidth ratio via temporal and spatial noise filtering.

      - The vandal resistant HD camera shall offer two regions of interest to zoom into a specific area of the full image.

      - The vandal resistant HD camera shall allow regions of interest to be sent in separate streams so it is possible to view both an overview and a detail at the same time.

      - The vandal resistant HD camera shall offer a digital WDR of 76 dB.

      - The vandal resistant HD camera shall provide a frame integration mode that can increase the integration time up to 10 times on the CMOS sensor.

      - The vandal resistant HD camera shall produce images with a minimum scene illumination of (at 30 IRE):

        - [Lens 3-9 mm:

          - Color: 0.22 lx (0.022 fc)

          - Monochrome: 0.05 lx (0.005 fc)]

        - [Lens 10-23 mm:

          - Color: 0.4 lx (0.04 fc)

          - Monochrome: 0.1 lx (0.01 fc)]

      - The vandal resistant HD camera shall provide enhanced night viewing through the increase of IR sensitivity by automatically switching a motorized IR filter from color to monochrome operation in low-light or IR illuminated applications. Allow the IR filter to be switched manually via the alarm input, preprogrammed in a camera mode or profile.

      - The vandal resistant HD camera shall utilize pixel-by-pixel analysis to automatically compensate for bright areas of a high contrast scene (Back light) without having to define a window or area.

    - HD Characteristics

      - The vandal resistant HD camera shall generate HD 1080p30 resolution using H.264 compression.

      - The vandal resistant HD camera shall generate multiple simultaneous video streams in H.264 and M-JPEG with configurable frame rates and bandwidth.

      - The vandal resistant HD camera shall offer the following audio standards:

        - AAC

        - G.711, 8 kHz sampling rate

        - L16, 16 kHz sampling rate

    - Video Streaming

      - The vandal resistant HD camera shall deliver multiple H.264 video streams and an M-JPEG stream.

      - The vandal resistant HD camera shall offer an upright streaming mode that delivers an image of 400 x 720 (9:16 aspect ratio) that is cropped from the full sensor image.

    - Installation Requirements

      - The vandal resistant HD camera shall be capable of operating within a temperature range of -30°C to +50°C (-22°F to 122°F).

      - The vandal resistant HD camera shall offer a cold start temperature of 
-20°C (-4°F).

      - The vandal resistant HD camera shall have power and alarm cable connectors which can be removed when the camera is mounted.

      - The vandal resistant HD camera shall provide power, video, and control via an Ethernet connection and a PoE switch.

      - The vandal resistant HD camera shall be capable of simultaneous connection to PoE and to 12 VDC / 24 VAC power supplies.

      - The vandal resistant HD camera shall provide an automatic zoom/focus lens wizard to zoom and focus the camera.

      - The vandal resistant HD camera shall provide a multi-language on-screen display.

    - Storage Management

      - The vandal resistant HD camera shall support iSCSI devices to allow video stream to be recorded directly to an iSCSI RAID array.

      - The vandal resistant HD camera shall support iSCSI storage targets to enable the camera to function as a conventional DVR.

      - The vandal resistant HD camera shall have a microSD card slot that uses standard; off-the-shelf microSD (SDHC and SDXC) cards for local storage (up to 2 TB).

      - The local storage feature shall be capable of storage for Automatic Network Replenishment (ANR).

    - Alarm Handling Features:

      - The vandal resistant HD camera shall provide an alarm input that may be triggered by either a normally opened or normally closed contact.

      - The day/night HD camera shall provide the capability on alarm to display up to a 31 character, programmable alarm message.

      - The vandal resistant HD camera shall provide a relay output that may be selected for normally opened or normally closed operation. The relay can be activated from an external alarm input to the camera, manual activation from the browser, upon video motion detection, an alarm task script or video loss.

      - The vandal resistant HD camera shall provide email alarm messaging with optional JPEG posting.

    - IP Connectivity

      - The vandal resistant HD camera shall allow full camera control and configuration capabilities over the network.

      - The vandal resistant HD camera shall accept Power over Ethernet (IEEE 802.3at Type 2).

      - The vandal resistant HD camera shall deliver 1080p HD video, at rates up to 30 images per second.

      - The vandal resistant HD camera shall conform to the ONVIF Profile S standard.

      - The vandal resistant HD camera shall offer Embedded Intelligent Video Analytics (IVA).

    - Embedded Video Content Analysis

      - The day/night HD camera shall be VCA enabled.

      - The day/night HD camera shall offer MOTION+ video motion analysis that uses an algorithm based on pixel change.

      - The day/night HD camera MOTION+ feature shall include object size filtering and tamper-detection capabilities.

    - [Intelligent Video Analysis

      - The vandal resistant HD camera shall be capable of processing and analyzing video within the camera itself, with no extra hardware required.

      - The vandal resistant HD camera shall be capable of detecting and sending alarms for abnormal events.

      - The vandal resistant HD camera shall allow users to set up to 10 separate profiles and switch profiles based on a day/night or holiday schedules

      - The vandal resistant HD camera shall offer a tracking feature that can follow objects within a defined region of interest.]

    - Surveillance Software

      - The vandal resistant HD camera shall be accessible from a web browser, with the Bosch Video Management System, with the Bosch Recording System, with the Bosch Video Client, or with the Bosch Video Security iPad App.

      - The vandal resistant HD camera shall be accessible from the Bosch Security System iPad App. The App shall allow complete camera control and shall display images over low bandwidth connections.

    - Construction

      - The vandal resistant HD camera shall be enclosed in a cast-aluminum housing with an aluminum trim ring.

      - The vandal resistant HD camera shall come with a clear polycarbonate dome bubble (with UV blocking anti-scratch coating) and a hardened inner liner.

      - The vandal resistant HD camera shall be able to withstand the equivalent of 55 kg (120 lbs) for force (> IK10).

      - The vandal resistant HD camera shall be protected against dust and water to the IP 66 (NEMA 4X) standard.

      - The vandal resistant camera shall be capable of being mounted to a surface, wall, corner, or suspended ceiling (specific mounting options may require optional accessories).

    - Access Security

      - The vandal resistant HD camera shall offer three levels of password protection.

      - The vandal resistant HD camera shall support 802.1x authentication using a RADIUS (Remote Authentication Dial In User Service) server.

      - The vandal resistant HD camera shall store a SSL certificate for use with HTTPS.

      - [The vandal resistant HD camera shall be capable of being independently AES encrypted with 128-bit keys.]

    - Image Posting

      - The vandal resistant HD camera shall offer periodic JPEG image posting to an FTP server or to a Dropbox account.

      - The vandal resistant HD camera shall offer best face detection and JPEG best face image posting to FTP server or to a Dropbox account.

    - Specifications

      - Electrical:

        - Power Supply:

          - 24 VAC ± 10%, 50/60 Hz

          - 12 VDC ± 10%

          - PoE 48 VDC nominal

        - Current Consumption:

          - 12 VDC:

            - With IVA: 600 mA

            - Without IVA: 500 mA

          - 24 VAC:

            - With IVA: 500 mA

            - Without IVA: 450 mA

          - PoE (48 VDC):

            - With IVA: 175 mA

            - Without IVA: 150 mA

        - Power Consumption:

          - With IVA: 7.2 W

          - Without IVA: 6 W

    - Sensor

      - Type: 1/2.7-inch CMOS HD

      - Active Pixels: 1920 x 1080

    - Video Streams

      - Video Compression: H.264 (ISO/IEC 14496-10), M-JPEG, JPEG

      - Streaming: Multiple individually configurable streams in H.264 and M-JPEG, configurable frame rate and bandwidth.

      - Overall IP Delay: Min. 120 ms, Max. 240 ms

      - GOP Structure: IP, IBP, IBBP

      - Encoding Interval: 1 to 30 (25) ips

      - Resolution (H x V):

        - 1080p HD: 1920 x 1080

        - 960p HD 4:3 (cropped): 1280 x 960

        - 720p HD: 1280 x 720

        - D1 4:3 (cropped): 704 x 480

        - SD upright (cropped): 400 x 720

        - 480p SD

          - Encoding: 704 x 480

          - Displayed: 854 x 480

        - 432p SD: 768 x 432

        - 288p SD: 512 x 288

        - 240p SD:

          - Encoding: 352 x 240

          - Displayed: 432 x 240

        - 144p SD: 256 x 144

      - Sensitivity ( 3200K, Scene Reflectivity 89%, 30 IRE)

        - Lens 3-9 mm (F1.2):

          - Color: 0.22 lx (0.022 fc)

          - Monochrome: 0.05 lx (0.005 fc)

        - Lens 10-23 mm (F1.2):

          - Color: 0.4 lx (0.04 fc)

          - Monochrome: 0. 1 lx (0.01 fc)

      - Day/Night: Color, Monochrome, Auto

      - White Balance:

        - ATW (2500 to 10000K)

        - ATW hold and manual

        - Indoor and Outdoor ATW

      - Shutter:

        - Automatic Electronic Shutter (AES)

        - Fixed (1/30 [1/25] to 1/1500000) selectable

        - Default shutter

      - Backlight Compensation: Off/Auto

      - Contrast Enhancement: On/Off

      - Sharpness: Sharpness enhanced level selectable

      - Dynamic Range: Digital WDR: 76 dB

      - Privacy Masking: Four (4) independent areas, fully programmable

      - Video Motion Analysis: Motion+ or Intelligent Video Analysis

    - Audio

      - Standard:

        - AAC

        - G.711, 8 kHz sampling rate

        - L16, 16 kHz sampling rate

      - Signal-to-Noise Ratio: >50 dB

      - Audio Streaming: Full duplex / Half duplex

    - Input/Output

      - Analog Video Out: CVBS (PAL/NTSC), 1 Vpp, BNC, 75 Ohm

      - Analog Video Out (service only): CVBS (PAL/NTSC), 1 Vpp, 2.5 mm jack, 75 Ohm (non-protected)

      - Audio: 1 x mono line in, 1 x mono line out

        - Signal Line In: 12 kOhm typical, 1 Vrms max.

        - Signal Line Out: 1 Vrms at 1.5 kOhm, typical

      - Alarms: 2 inputs

        - Activation Voltage: +5 VDC to +40 VDC (+3.3 VDC with DC-coupled 
22 kOhm pull-up resistor)

      - Relay: 1 output

        - Voltage: 30 VAC or +40 VDC Max 0.5 A continuous , 10 VA

    - Local Storage

      - Memory Card Slot: Supports SDHC and SDXC microSD cards

      - Recording: Continuous recording, ring recording, alarm/events/schedule recording

    - Software Control

      - Unit Configuration: Via Web browser or Configuration Manager

      - Software Update: Flash ROM, remote programmable

    - Network

      - Protocols: IPv4, IPv6, UDP, TCP, HTTP, HTTPS, RTP, IGMP V2/V3, ICMP, RTSP, FTP, Telnet, ARP, DHCP, SNTP, SNMP (V1, MIB‑II), 802.1x, SMTP, iSCSI, UPnP (SSDP)

      - Encryption: TLS 1.0, SSL, AES (optional)

      - Ethernet: STP, 10/100 Base-T, auto-sensing, half/full duplex, RJ45

      - PoE Supply: IEEE 802.3at Type-2 compliant

      - Connectivity:

        - ONVIF Profile S

        - Auto-MDIX

    - Optical

      - Lens: Automatic Varifocal SR (Super Resolution)

        - [3 to 9 mm]

        - [10 to 23 mm]

      - Adjustment: Motorized zoom/focus

      - Iris Control: Automatic iris control

      - Viewing Angle (H x V):

        - [3 to 9 mm

          - Wide: 121° x 62°

          - Tele: 38° x 21°]

        - [10 to 23 mm

          - Wide: 34° x 18°

          - Tele: 14.8° x 8.3°]

    - Mechanical:

      - Dimensions (D x H): 158 x 124 mm (6.22 x 4.89 in.)

      - Weight:

        - Camera: 0.84 kg (1.85 lb)

        - Camera with SMB: 1.27 kg (2.8 lb)

      - Mounting: Flush mount or surface mount

      - Color: White (RAL 9010) trim ring with black inner liner

      - Adjustment Range: 360° pan, 90° tilt, ±90° twist

      - Dome Bubble: Polycarbonate, clear with UV blocking anti-scratch coating

      - Trim Ring: Aluminum

    - Environmental:

      - Operating Temperature: -30°C to +50°C (-22°F to 122°F)

      - Cold Start Temperature: -20°C (-4°F)

      - Storage Temperature: -50°C to +70°C (-58°F to 158°F)

      - Operating Humidity: 5% to 93% relative humidity

      - Storage Humidity: up to 98% relative humidity

      - Impact Protection: IK10

      - Water/Dust Protection: IP66 and NEMA Type 4X

      - Environment Test Method: EN 50130-5:2011 Alarm systems Part 5 (Class IV Outdoor in general)

  - ACCESSORIES

    - Mounts

      - VDA-WMT-DOME Wall pendant mount bracket for FlexiDome cameras

      - VDA-CMT-DOME Corner mount bracket for FlexiDome cameras

      - VDA-PMT-DOME Pendant pipe mount bracket for FlexiDome cameras

      - LTC 9213/01 Pole Mount Adapter

      - VDA-PLEN-DOME In-ceiling back can installation kit

      - VDA-455SMB-IP Surface Mount Box for FlexiDome VR

    - Power Supplies

      - UPA-2410-60, 120 VAC, 60 Hz, 24 VAC, 10 VA Out

      - UPA-2420-50, 220 VAC, 50 Hz, 24 VAC, 20 VA Out

      - UPA-2430-60, 120 VAC, 60 Hz, 24 VAC, 30 VA Out

      - UPA-2450-50, 220 VAC, 50 Hz, 24 VAC, 50 VA Out

      - UPA-2450-60, 120 VAC, 60 Hz, 24 VAC, 50 VA Out

    - Components

      - VDA-455TBL Tinted Bubble

      - VDA-455CBL Clear Bubble

      - S1460 Service/Monitor Cable

    - Video over IP Accessories

      - VJT-XTC XF Video Transcoder

    - Software Options

      - MVC-FENC-AES BVIP AES 128 bit Encryption License

- – EXECUTION

  - EXAMINATION

    - Examine areas to receive devices and notify adverse conditions affecting installation or subsequent operation.

    - Do not begin installation until unacceptable conditions are corrected.

  - PREPARATION

    - Protect devices from damage during construction.

  - INSTALLATION

    - Install devices in accordance with manufacturer’s instruction at locations indicated on the floor drawings plans.

    - Ensure selected location is secure and offers protection from accidental damage.

    - Location must provide reasonable temperature and humidity conditions, free from sources of electrical and electromagnetic interference.

  - FIELD QUALITY CONTROL

    - Test snugness of mounting screws of all installed equipment.

    - Test proper operation of all video system devices.

    - Determine and report all problems to the manufacturer’s customer service department.

  - ADJUSTING

    - Make proper adjustment to video system devices for correct operation in accordance with manufacturer’s instructions.

    - Make any adjustment of camera settings to comply with specific customer’s need.

  - DEMONSTRATION

    - Demonstrate at final inspection that video management system and devices function properly.

END OF SECTION

# Text boxes

Specifier Notes:  This product guide specification is written according to the Construction Specifications Institute (CSI) 3-Part Format, based on MasterFormat 2004 and The Project Resource Manual—CSI Manual of Practice. The Manufacturer is responsible for technical accuracy.

The section must be carefully reviewed and edited by the Architect or Engineer to meet the requirements of the project and local building code.  Words and sentences within brackets [ ] are choices to include or exclude a particular item or statement.  Coordinate this section with other specification sections and the Drawings.  Delete all “Specifier Notes” after editing this section.